## IXOM Mar 2015 onward
`
Details of Licence Conditions
EPA Licence No: | 20574
Link to full license on EPA website: | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=45942&SYSUID=1&LICID=20547
Licensee Name: | Chemicals Australia Operations Pty Ltd
Licensee Address: | 16-20 Beauchamp Road, Matraville, NSW 2036
Location of Monitoring Points: | Point 1 - Stack Gas
Point 2 - Stack Gas
Point 3 - Stack Gas
Sampling Frequency: Continuous
EPA Point: | Point 1 - Stack Gas | Hypochlorite Backing Tower
Pollutant | Monitoring Period | Units | Licence Limit | Minimum Value | Maximum Value | Mean Value | Requirement Met | Results Obtained | Results Published | Note
Chlorine | 01/03/15 - 01/04/15 | mg/m3 | 200 | 0 | 14.7 |  | Yes | 2015-04-08 | 2015-04-08
Chlorine | 01/04/15 - 01/05/15 | mg/m3 | 200 | 0 | 15.9 |  | Yes | 2015-05-05 | 2015-05-06
Chlorine | 01/05/15 - 01/06/15 | mg/m3 | 200 | 0 | 0 |  | Yes | 2015-06-10 | 2015-06-10
Chlorine | 01/06/15 - 01/07/15 | mg/m3 | 200 | 0 | 0 |  | Yes | 2015-07-09 | 2015-07-10
Chlorine | 01/07/15 - 01/08/15 | mg/m3 | 200 | 0 | 0 |  | Yes | 2015-08-05 | 2015-08-06
Chlorine | 01/08/15 - 01/09/15 | mg/m3 | 200 | 0 | 0 |  | Yes | 2015-09-07 | 2015-09-08
Chlorine | 01/09/15 - 01/10/15 | mg/m3 | 200 | 0 | 16.8 |  | Yes | 2015-10-08 | 2015-10-09
Chlorine | 01/10/15 - 01/11/15 | mg/m3 | 200 | 0 | 49.2 |  | Yes | 2015-11-10 | 2015-11-11
Chlorine | 01/11/15 - 01/12/15 | mg/m3 | 200 | 0 | 23 |  | Yes | 2015-12-08 | 2015-12-09
Chlorine | 01/12/15 - 01/1/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-01-08 | 2016-01-09
Chlorine | 01/1/16 - 31/1/16 | mg/m3 | 200 | 0 | 3 |  | Yes | 2016-02-03 | 2016-02-05
Chlorine | 01/2/16 - 29/2/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-03-02 | 2016-03-03
Chlorine | 01/3/16 - 31/3/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-04-04 | 2016-04-05
Chlorine | 01/4/16 - 30/4/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-05-03 | 2016-05-04
Chlorine | 01/5/16 - 31/5/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-05-06 | 2016-05-08
Chlorine | 01/6/16 - 30/6/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-07-05 | 2016-07-07
Chlorine | 01/7/16 - 31/7/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-08-02 | 2016-08-04
Chlorine | 01/8/16 - 31/8/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-09-19 | 2016-09-21
Chlorine | 01/9/16 - 30/9/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-10-06 | 2016-10-08
Chlorine | 01/10/16 - 31/10/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-11-04 | 2016-11-07
Chlorine | 01/11/16 - 30/11/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2016-12-07 | 2016-12-09
Chlorine | 01/12/16 - 31/12/16 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-01-04 | 2017-01-06
Chlorine | 01/1/17 - 31/1/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-02-02 | 2017-02-04
Chlorine | 01/2/17 - 28/2/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-03-13 | 2017-03-15
Chlorine | 01/3/17 - 31/3/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-04-05 | 2017-04-07
Chlorine | 01/4/17 - 30/4/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-05-05 | 2017-05-08
Chlorine | 01/5/17 - 31/5/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-06-05 | 2017-06-07
Chlorine | 01/6/17 - 30/6/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-07-06 | 2017-07-08
Chlorine | 01/7/17 - 31/7/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-08-07 | 2017-08-09
Chlorine | 01/8/17 - 31/8/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-09-04 | 2017-09-06
Chlorine | 01/9/17 - 30/9/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-10-09 | 2017-10-11
Chlorine | 01/10/17 - 31/10/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-11-03 | 2017-11-06
Chlorine | 01/11/17 - 30/11/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2017-12-08 | 2017-12-10
Chlorine | 01/12/17 - 31/12/17 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-01-02 | 2018-01-04
Chlorine | 01/1/18 - 31/1/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-02-02 | 2018-02-04
Chlorine | 01/2/18 - 28/2/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-03-05 | 2018-03-07
Chlorine | 01/3/18 - 31/3/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-04-06 | 2018-04-11
Chlorine | 01/4/18 - 30/4/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-06-11 | 2018-06-13
Chlorine | 01/5/18 - 31/5/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-06-11 | 2018-06-13
Chlorine | 01/6/18 - 30/6/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-07-04 | 2018-07-06
Chlorine | 01/7/18 - 31/7/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-08-10 | 2018-08-24
Chlorine | 01/8/18 - 31/8/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-09-07 | 2018-09-10
Chlorine | 01/9/18 - 30/9/20 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-10-12 | 2018-10-18
Chlorine | 01/10/18 - 31/10/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-11-08 | 2018-11-28
Chlorine | 01/11/18 - 30/11/18 | mg/m3 | 200 | 0 | 0 |  | Yes | 2018-12-10 | 2019-01-16
Chlorine | 01/12/18 - 31/12/18 | mg/m3 | 200 | 0 | 27.9 |  | Yes | 2019-01-16 | 2019-01-16
Chlorine | 01/01/19 - 31/01/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-02-06 | 2019-02-15
Chlorine | 01/02/19 - 28/02/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-03-01 | 2019-03-01
Chlorine | 01/03/19 - 31/03/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-04-04 | 2019-04-04
Chlorine | 01/04/19 - 30/04/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-05-03 | 2019-05-03
Chlorine | 01/05/19 - 31/05/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-06-04 | 2019-06-04
Chlorine | 01/06/19 - 30/06/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-07-04 | 2019-07-04
Chlorine | 01/07/19 - 31/07/19 | mg/m3 | 200 | 0 | 3.9 |  | Yes | 2019-08-04 | 2019-08-08
Chlorine | 01/08/19 - 31/08/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-09-03 | 2019-09-03
Chlorine | 01/09/19 - 30/09/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-10-03 | 2019-10-09
Chlorine | 01/10/19 - 31/10/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-11-05 | 2019-11-05
Chlorine | 01/11/19 - 30/11/19 | mg/m3 | 200 | 0 | 0 |  | Yes | 2019-12-05 | 2019-12-05
Chlorine | 01/12/19 - 31/12/19 | mg/m3 | 200 | 0 | 4.5 |  | Yes | 2020-01-03 | 2020-01-06
Chlorine | 01/01/20 - 31/01/20 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2020-02-06 | 2020-02-06
Chlorine | 01/02/20 - 29/02/20 | mg/m3 | 200 | 0 | 7.2 | 0 | Yes | 2020-03-06 | 2020-03-06
Chlorine | 01/03/20 - 31/03/20 | mg/m3 | 200 | 0 | 3.3 | 0 | Yes | 2020-04-07 | 2020-04-07
Chlorine | 01/04/20 - 30/04/20 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2020-05-06 | 2020-05-06
Chlorine | 01/05/20 - 31/05/20 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2020-06-03 | 2020-06-03
Chlorine | 01/06/20 - 30/06/20 | mg/m3 | 200 | 0 | 6.6 | 0 | Yes | 2020-07-04 | 2020-07-04
Chlorine | 01/07/20 - 31/07/20 | mg/m3 | 200 | 0 | 2.1 | 0 | Yes | 2020-08-03 | 2020-08-03
Chlorine | 01/08/20 - 31/08/20 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2020-09-01 | 2020-09-01
Chlorine | 01/09/20 - 30/09/20 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2020-10-02 | 2020-10-02
Chlorine | 01/10/20 - 31/10/20 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2020-11-02 | 2020-11-02
Chlorine | 01/11/20 - 30/11/20 | mg/m3 | 200 | 0 | 6.6 | 0 | Yes | 2020-12-04 | 2020-12-04
Chlorine | 01/12/20 - 01/01/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-01-03 | 2021-01-03
Chlorine | 01/01/21 - 01/02/21 | mg/m3 | 200 | 0 | 5.1 | 0 | Yes | 2021-02-12 | 2021-02-12
Chlorine | 01/02/21 - 01/03/21 | mg/m3 | 200 | 0 | 3 | 0 | Yes | 2021-03-02 | 2021-03-02
Chlorine | 01/03/21 - 01/04/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-04-08 | 2021-04-09
Chlorine | 01/04/21 - 01/05/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-05-04 | 2021-05-04
Chlorine | 01/05/21 - 01/06/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-06-15 | 2021-06-15
Chlorine | 01/06/21 - 01/07/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-07-06 | 2021-07-06
Chlorine | 01/07/21 - 01/08/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-08-19 | 2021-08-19
Chlorine | 01/08/21 - 01/09/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-09-14 | 2021-09-14
Chlorine | 01/09/21 - 01/10/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-10-19 | 2021-10-19
Chlorine | 01/10/21 - 01/11/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-11-18 | 2021-11-18
Chlorine | 01/11/21 - 01/12/21 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2021-12-07 | 2021-12-07
Chlorine | 01/12/21 - 01/01/22 | mg/m3 | 200 | 0 | 6.9 | 0 | Yes | 2022-01-14 | 2022-01-14
Chlorine | 01/01/21 - 01/02/22 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2022-03-02 | 2022-03-02
Chlorine | 01/02/22 - 01/03/22 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2022-03-02 | 2022-03-02
Chlorine | 01/03/22 - 01/04/22 | mg/m3 | 200 | 0 | 0 | 0 | Yes | 2022-04-05 | 2022-04-05
Sampling Frequency: Quarterly
EPA Point: | Point 2 - Stack Gas | Absorption Tail Tower
Pollutant | Monitoring Date | Units | Licence Limit | Result | Requirement Met | Results Obtained | Results Published | Analyst | Note
Hydrogen Chloride | 2015-03-17 | mg/m3 | 30 | <0.3 | Yes | 2015-03-17 | 2015-04-08 | GPG0
Hydrogen Chloride | 2015-09-16 | mg/m3 | 30 | <0.3 | Yes | 2015-09-16 | 2015-09-17 | GPG0
Hydrogen Chloride | 2016-01-29 | mg/m3 | 30 | <0.3 | Yes | 2016-02-03 | 2016-02-05 | GPG0
Hydrogen Chloride | 2016-02-25 | mg/m3 | 30 | <0.3 | Yes | 2016-07-05 | 2016-07-07 | GPG0
Hydrogen Chloride | 2016-06-16 | mg/m3 | 30 | <0.3 | Yes | 2016-07-05 | 2016-07-07 | GPG0
Hydrogen Chloride | 2016-09-20 | mg/m3 | 30 | <0.3 | Yes | 2016-10-06 | 2016-10-08 | GPG0
Hydrogen Chloride | 2017-03-08 | mg/m3 | 30 | <0.3 | Yes | 2017-03-10 | 2017-03-10 | GPG0
Hydrogen Chloride | 2017-04-27 | mg/m3 | 30 | <0.3 | Yes | 2017-12-08 | 2017-12-10 | GPG0
Hydrogen Chloride | 2017-07-19 | mg/m3 | 30 | <0.3 | Yes | 2017-12-08 | 2017-12-10 | GPG0
Hydrogen Chloride | 2017-10-26 | mg/m3 | 30 | <0.3 | Yes | 2017-12-08 | 2017-12-10 | GPG0
Hydrogen Chloride | 2018-02-08 | mg/m3 | 30 | <0.3 | Yes | 2018-03-14 | 2018-03-16 | GPG0
Hydrogen Chloride | 2018-05-23 | mg/m3 | 30 | <0.3 | Yes | 2018-05-22 | 2018-08-24 | GPG0
Hydrogen Chloride | 2018-08-02 | mg/m3 | 30 | <0.3 | Yes | 2018-08-01 | 2018-08-24 | GPG0
Hydrogen Chloride | 2018-10-22 | mg/m3 | 30 | 10 | Yes | 2018-10-22 | 2018-10-22 | GPG0
Hydrogen Chloride | 2019-01-24 | mg/m3 | 30 | 8.3 | Yes | 2019-01-25 | 2019-01-25 | GPG0
Hydrogen Chloride | 2019-04-29 | mg/m3 | 30 | 8.3 | Yes | 2019-04-30 | 2019-05-07 | GPG0
Hydrogen Chloride | 2019-09-09 | mg/m3 | 30 | 0.5 | Yes | 2019-09-10 | 2019-09-10 | GPG0
Hydrogen Chloride | 2019-12-31 | mg/m3 | 30 | <0.3 | Yes | 2019-12-31 | 2019-12-31 | GPG0
Hydrogen Chloride | 2019-12-16 | mg/m3 | 30 | <0.3 | Yes | 2019-12-16 | 2020-04-07 | WU
Hydrogen Chloride | 2020-03-31 | mg/m3 | 30 | 0.3 | Yes | 2020-03-31 | 2020-04-07 | GPG0
Hydrogen Chloride | 2020-06-24 | mg/m3 | 30 | <0.3 | Yes | 2020-06-25 | 2020-06-25 | GPG0
Hydrogen Chloride | 2020-08-20 | mg/m3 | 30 | 0.2 | Yes | 2020-08-21 | 2020-08-21 | GPG0
Hydrogen Chloride | 2020-11-26 | mg/m3 | 30 | 2.8 | Yes | 2020-11-26 | 2020-11-27 | GPG0
Hydrogen Chloride | 2021-03-12 | mg/m3 | 30 | 2.4 | Yes | 2021-03-12 | 2021-03-12 | WXU0
Hydrogen Chloride | 2021-04-28 | mg/m3 | 30 | 1.5 | Yes | 2021-04-28 | 2021-04-29 | GPG0
Hydrogen Chloride | 2021-06-25 | mg/m3 | 30 | <0.3 | Yes | 2021-06-25 | 2021-06-26 | GPG0
Hydrogen Chloride | 2021-10-18 | mg/m3 | 30 | 7.3 | Yes | 2021-10-18 | 2021-10-19 | WXU0
Hydrogen Chloride | 2021-10-21 | mg/m3 | 30 | 6.6 | Yes | 2021-10-21 | 2021-10-26 | WXU0
Hydrogen Chloride | 2022-01-25 | mg/m3 | 30 | 1.3 | Yes | 2022-01-27 | 2022-01-27 | GPG0
Sampling Frequency: Continuous
EPA Point: | Point 3 - Stack Gas | Emergency Chlorine Vent
Pollutant | Monitoring Period | Units | Licence Limit* | Minimum Value | Mean Value | Requirement Met | Maximum Value | Results Obtained | Results Published | Note
Chlorine | 01/03/15 - 01/04/15 | mg/m3 | 200 | 1.2 | 3.3 | Yes | 7.2 | 2015-04-08 | 2015-04-08
Chlorine | 01/04/15 - 01/05/15 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2015-05-05 | 2015-05-06
Chlorine | 01/05/15 - 01/06/15 | mg/m3 | 200 | 0 | 0.3 | Yes | 6.3 | 2015-06-10 | 2015-06-10
Chlorine | 01/06/15 - 01/07/15 | mg/m3 | 200 | 0 | 0.6 | Yes | 2.3 | 2015-07-09 | 2015-07-10
Chlorine | 01/07/15 - 01/08/15 | mg/m3 | 200 | 0 | 2.1 | Yes | 12.6 | 2015-08-05 | 2015-08-06
Chlorine | 01/08/15 - 01/09/15 | mg/m3 | 200 | 0 | 0.9 | Yes | 16.8 | 2015-09-07 | 2015-09-08
Chlorine | 01/09/15 - 01/10/15 | mg/m3 | 200 | 0 | 0.7 | Yes | 16.5 | 2015-10-08 | 2015-10-09
Chlorine | 01/10/15 - 01/11/15 | mg/m3 | 200 | 0 | 3.9 | Yes | 23.1 | 2015-11-10 | 2015-11-11
Chlorine | 01/11/15 - 01/12/15 | mg/m3 | 200 | 0 | 4.8 | Yes | 27.9 | 2015-12-08 | 2015-12-09
Chlorine | 01/12/15 - 01/1/16 | mg/m3 | 200 | 0 | 4.2 | Yes | 15 | 2016-01-08 | 2016-01-09
Chlorine | 01/1/16 - 31/1/16 | mg/m3 | 200 | 0 | 5.6 | Yes | 16.8 | 2016-02-03 | 2016-02-05
Chlorine | 01/2/16 - 29/2/16 | mg/m3 | 200 | 0 | 4.8 | Yes | 14.1 | 2016-03-02 | 2016-03-03
Chlorine | 01/3/16 - 31/3/16 | mg/m3 | 200 | 0 | 2.7 | Yes | 18.6 | 2016-04-04 | 2016-04-05
Chlorine | 01/4/16 - 30/4/16 | mg/m3 | 200 | 0 | 2.4 | Yes | 12 | 2016-05-03 | 2016-05-04
Chlorine | 01/5/16 - 31/5/16 | mg/m3 | 200 | 0 | 1.2 | Yes | 5.1 | 2016-06-06 | 2016-06-08
Chlorine | 01/6/16 - 30/6/16 | mg/m3 | 200 | 0 | 0.9 | Yes | 6.6 | 2016-07-05 | 2016-07-07
Chlorine | 01/7/16 - 31/7/16 | mg/m3 | 200 | 0 | 3.3 | Yes | 9.3 | 2016-08-02 | 2016-08-04
Chlorine | 01/8/16 - 31/8/16 | mg/m3 | 200 | 0 | 3.3 | Yes | 10.8 | 2016-09-19 | 2016-09-21
Chlorine | 01/9/16 - 30/9/16 | mg/m3 | 200 | 0 | 1.6 | Yes | 123.9 | 2016-10-06 | 2016-10-08
Chlorine | 01/10/16 - 31/10/16 | mg/m3 | 200 | 0 | 5.9 | Yes | 15 | 2016-11-04 | 2016-11-07
Chlorine | 01/11/16 - 30/11/16 | mg/m3 | 200 | 0 | 4.2 | Yes | 11.1 | 2016-12-07 | 2016-12-09
Chlorine | 01/12/16 - 31/12/16 | mg/m3 | 200 | 0 | 5.4 | Yes | 26.1 | 2016-12-07 | 2016-12-09
Chlorine | 01/1/17 - 31/1/17 | mg/m3 | 200 | 0 | 4.2 | Yes | 11.1 | 2017-02-02 | 2017-02-04
Chlorine | 01/2/17 - 28/2/17 | mg/m3 | 200 | 0 | 5.1 | Yes | 8.1 | 2017-03-13 | 2017-03-15
Chlorine | 01/3/17 - 31/3/17 | mg/m3 | 200 | 0 | 1.8 | Yes | 8.7 | 2017-04-05 | 2017-04-07
Chlorine | 01/4/17 - 30/4/17 | mg/m3 | 200 | 0 | 1.9 | Yes | 4.5 | 2017-05-05 | 2017-05-08
Chlorine | 01/5/17 - 31/5/17 | mg/m3 | 200 | 0 | 0.7 | Yes | 3.3 | 2017-06-05 | 2017-06-07
Chlorine | 01/6/17 - 30/6/17 | mg/m3 | 200 | 0 | 2.1 | Yes | 3.3 | 2017-07-06 | 2017-07-08
Chlorine | 01/7/17 - 31/7/17 | mg/m3 | 200 | 0 | 1.2 | Yes | 3 | 2017-08-07 | 2017-08-09
Chlorine | 01/8/17 - 31/8/17 | mg/m3 | 200 | 0 | 2.1 | Yes | 7.2 | 2017-09-07 | 2017-09-09
Chlorine | 01/9/17 - 30/9/17 | mg/m3 | 200 | 0 | 0.9 | Yes | 5.4 | 2017-10-09 | 2017-10-11
Chlorine | 01/10/17 - 31/10/17 | mg/m3 | 200 | 0 | 2.1 | Yes | 6.3 | 2017-11-03 | 2017-11-06
Chlorine | 01/11/17 - 30/11/17 | mg/m3 | 200 | 0 | 2.5 | Yes | 5.4 | 2017-12-08 | 2017-12-10
Chlorine | 01/12/17 - 31/12/17 | mg/m3 | 200 | 0 | 2 | Yes | 16.5 | 2018-01-02 | 2018-01-04
Chlorine | 01/1/18 - 31/1/18 | mg/m3 | 200 | 0 | 2.4 | Yes | 6.9 | 2018-02-02 | 2018-02-04
Chlorine | 01/2/18 - 28/2/18 | mg/m3 | 200 | 0 | 2.8 | Yes | 8.7 | 2018-03-05 | 2018-03-07
Chlorine | 01/3/18 - 31/3/18 | mg/m3 | 200 | 0 | 0.7 | Yes | 5.4 | 2018-04-06 | 2018-04-11
Chlorine | 01/4/18 - 30/4/18 | mg/m3 | 200 | 0 | 1.8 | Yes | 5.7 | 2018-06-11 | 2018-06-13
Chlorine | 01/5/18 - 31/5/18 | mg/m3 | 200 | 0 | 1.7 | Yes | 6.6 | 2018-06-11 | 2018-06-13
Chlorine | 01/6/18 - 30/6/18 | mg/m3 | 200 | 0.3 | 0.8 | Yes | 6 | 2018-07-04 | 2018-07-06
Chlorine | 01/7/18 - 31/7/18 | mg/m3 | 200 | 0.3 | 0.6 | Yes | 2.4 | 2018-08-10 | 2018-08-24
Chlorine | 01/8/18 - 31/8/18 | mg/m3 | 200 | 0.3 | 0.7 | Yes | 5.1 | 2018-09-07 | 2018-09-10
Chlorine | 01/9/18 - 30/9/18 | mg/m3 | 200 | 0.6 | 0.6 | Yes | 5.4 | 2018-10-12 | 2018-10-18
Chlorine | 01/10/18 - 31/10/18 | mg/m3 | 200 | 0.6 | 0.6 | Yes | 6.6 | 2018-11-08 | 2018-11-28
Chlorine | 01/11/18 - 30/11/18 | mg/m3 | 200 | 0.6 | 0.6 | Yes | 5.1 | 2018-12-10 | 2019-01-16
Chlorine | 01/12/18 - 31/12/18 | mg/m3 | 200 | 0 | 1.2 | Yes | 25.8 | 2019-01-16 | 2019-01-16
Chlorine | 01/01/19 - 31/01/19 | mg/m3 | 200 | 0 | 0.6 | Yes | 5.4 | 2019-02-06 | 2019-02-15
Chlorine | 01/02/19 - 28/02/19 | mg/m3 | 200 | 0 | 1.8 | Yes | 33.3 | 2019-03-01 | 2019-03-01
Chlorine | 01/03/19 - 31/03/19 | mg/m3 | 200 | 0 | 1.2 | Yes | 6.6 | 2019-04-04 | 2019-04-04
Chlorine | 01/04/19 - 30/04/19 | mg/m3 | 200 | 0 | 2.7 | Yes | 11.1 | 2019-05-03 | 2019-05-03
Chlorine | 01/05/19 - 31/05/19 | mg/m3 | 200 | 0 | 3.1 | Yes | 22 | 2019-06-04 | 2019-06-04
Chlorine | 01/06/19 - 30/06/20 | mg/m3 | 200 | 0 | 1.5 | Yes | 4.8 | 2019-07-04 | 2019-07-04
Chlorine | 01/07/19 - 31/07/19 | mg/m3 | 200 | 0 | 1.3 | Yes | 5.7 | 2019-08-04 | 2019-08-08
Chlorine | 01/08/19 - 31/08/19 | mg/m3 | 200 | 0 | 1.4 | Yes | 3.9 | 2019-09-03 | 2019-09-03
Chlorine | 01/09/19 - 31/09/19 | mg/m3 | 200 | 0 | 1.8 | Yes | 6.3 | 2019-10-03 | 2019-10-09
Chlorine | 01/10/19 - 31/10/19 | mg/m3 | 200 | 0 | 0.9 | Yes | 11.1 | 2019-11-05 | 2019-11-05
Chlorine | 01/11/19 - 30/11/19 | mg/m3 | 200 | 0 | 0.9 | Yes | 3 | 2019-12-05 | 2019-12-05
Chlorine | 01/12/19 - 31/12/19 | mg/m3 | 200 | 0 | 1.5 | Yes | 5.4 | 2020-01-03 | 2020-01-06
Chlorine | 01/01/20 - 31/01/20 | mg/m3 | 200 | 0 | 0.9 | Yes | 6.9 | 2020-02-06 | 2020-02-06
Chlorine | 01/02/20 - 29/02/20 | mg/m3 | 200 | 0 | 1.2 | Yes | 4.2 | 2020-03-06 | 2020-03-06
Chlorine | 01/03/20 - 31/03/20 | mg/m3 | 200 | 0 | 5 | Yes | 11.1 | 2020-04-07 | 2020-04-07
Chlorine | 01/04/20 - 30/04/20 | mg/m3 | 200 | 0 | 4.9 | Yes | 60.9 | 2020-05-06 | 2020-05-06
Chlorine | 01/05/20 - 31/05/20 | mg/m3 | 200 | 0 | 1.1 | Yes | 3.9 | 2020-06-03 | 2020-06-03
Chlorine | 01/06/20 - 30/06/20 | mg/m3 | 200 | 0 | 1.4 | Yes | 5.1 | 2020-07-03 | 2020-07-03
Chlorine | 01/07/20 - 31/07/20 | mg/m3 | 200 | 0 | 0.7 | Yes | 4.8 | 2020-08-03 | 2020-08-03
Chlorine | 01/08/20 - 31/08/20 | mg/m3 | 200 | 0 | 1.2 | Yes | 9.6 | 2020-09-01 | 2020-09-01
Chlorine | 01/09/20 - 30/09/20 | mg/m3 | 200 | 0 | 3 | Yes | 8.4 | 2020-10-02 | 2020-10-02
Chlorine | 01/10/20 - 31/10/20 | mg/m3 | 200 | 0 | 4.8 | Yes | 15 | 2020-11-02 | 2020-11-02
Chlorine | 01/11/20 - 30/11/20 | mg/m3 | 200 | 0 | 3.6 | Yes | 17.4 | 2020-12-04 | 2020-12-04
Chlorine | 01/12/20 - 01/01/21 | mg/m3 | 200 | 0 | 4.8 | Yes | 12.9 | 2021-01-03 | 2021-01-03
Chlorine | 01/01/21 - 01/02/21 | mg/m3 | 200 | 0 | 4.3 | Yes | 15 | 2021-02-12 | 2021-02-12
Chlorine | 01/02/21 - 01/03/21 | mg/m3 | 200 | 0 | 5.2 | Yes | 9.3 | 2021-03-02 | 2021-03-02
Chlorine | 01/03/21 - 01/04/21 | mg/m3 | 200 | 0.6 | 4.8 | Yes | 14.4 | 2021-04-08 | 2021-04-08
Chlorine | 01/04/21 - 01/05/21 | mg/m3 | 200 | 0 | 1.9 | Yes | 6.3 | 2021-05-04 | 2021-05-04
Chlorine | 01/05/21 - 01/06/21 | mg/m3 | 200 | 0 | 2.9 | Yes | 10.8 | 2021-06-15 | 2021-06-15
Chlorine | 01/06/21 - 01/07/21 | mg/m3 | 200 | 0 | 2.7 | Yes | 7.8 | 2021-07-06 | 2021-07-06
Chlorine | 01/07/21 - 01/08/21 | mg/m3 | 200 | 0 | 3.9 | Yes | 7.5 | 2021-08-19 | 2021-08-19
Chlorine | 01/08/21 - 01/09/21 | mg/m3 | 200 | 0 | 2.4 | Yes | 7.2 | 2021-09-14 | 2021-09-14
Chlorine | 01/09/21 - 01/10/21 | mg/m3 | 200 | 0 | 2.7 | Yes | 6.6 | 2021-10-19 | 2021-10-19
Chlorine | 01/10/21 - 01/11/21 | mg/m3 | 200 | 0 | 2.3 | Yes | 6.6 | 2021-11-18 | 2021-11-18
Chlorine | 01/11/21 - 01/12/21 | mg/m3 | 200 | 0 | 2.7 | Yes | 6.3 | 2021-12-07 | 2021-12-07
Chlorine | 01/12/21 - 01/01/22 | mg/m3 | 200 | 0 | 3 | Yes | 12.6 | 2022-01-14 | 2022-01-14
Chlorine | 1/01/22 - 01/02/22 | mg/m3 | 200 | 1.2 | 2.7 | Yes | 6.3 | 2022-03-02 | 2022-03-02
Chlorine | 1/02/22 - 01/03/22 | mg/m3 | 200 | 0 | 3 | Yes | 9 | 2022-03-02 | 2022-03-02
Chlorine | 1/03/22 - 01/04/22 | mg/m3 | 200 | 0 | 1.2 | Yes | 10.2 | 2022-04-05 | 2022-04-05
Correction Table
Emission Point | Test Parameter | Date Tested |  | Old Value |  |  | New Value |  | Reason
N/A
* Statute limit as per Schedule 4 of POEO (Clean Air) Regulation

## Pre Mar 2015 ChlorAlkaliData
`
Details of Licence Conditions
EPA Licence No: | 2148
Link to full license on EPA website: | http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=2148&id=2148&option=licence&searchrange=licence&range=POEO%20licence&prp=no&status=Issued
Licensee Name: | ORICA AUSTRALIA PTY LTD
Licensee Address: | 16-20 Beauchamp Road, Matraville, NSW 2036
Location of Monitoring Points: | Point 3 - Stack Gas
Point 4 - Stack Gas
Point 7 - Stack Gas
Sampling Frequency: Continuous
EPA Point: | Point 3 - Stack Gas | Hypochlorite Backing Tower
Pollutant | Monitoring Period | Units | Licence Limit | Minimum Value | Maximum Value | Requirement Met | Results Obtained | Results Published | Note
Chlorine | 01/04/12 - 01/05/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-05-01 | 2012-05-01
Chlorine | 01/05/12 - 01/06/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-06-01 | 2012-06-01
Chlorine | 01/06/12 - 01/07/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-07-09 | 2012-07-09
Chlorine | 01/07/12 - 01/08/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-08-06 | 2012-08-06
Chlorine | 01/08/12 - 01/09/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-09-06 | 2012-09-06
Chlorine | 01/09/12 - 01/10/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-10-04 | 2012-10-04
Chlorine | 01/10/12 - 01/11/12 | mg/m3 | 200 | 0 | 0 | Yes | 2012-11-05 | 2012-11-05
Chlorine | 01/11/12 - 01/12/12 | mg/m3 | 200 | 0 | 3.3 | Yes | 2012-12-05 | 2012-12-05
Chlorine | 01/12/12 - 01/01/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-01-07 | 2013-01-07
Chlorine | 01/01/13 - 01/02/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-02-04 | 2013-02-05
Chlorine | 01/02/13 - 01/03/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-03-04 | 2013-03-05
Chlorine | 01/03/13 - 01/04/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-04-08 | 2013-04-08
Chlorine | 01/04/13 - 01/05/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-05-16 | 2013-05-17
Chlorine | 01/05/13 - 01/06/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-06-06 | 2013-06-07
Chlorine | 01/06/13 - 01/07/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-07-04 | 2013-07-05
Chlorine | 01/07/13 - 01/08/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-08-07 | 2013-08-07
Chlorine | 01/08/13 - 01/09/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-09-04 | 2013-09-05
Chlorine | 01/09/13 - 01/10/13 | mg/m3 | 200 | 0 | 9.6 | Yes | 2013-10-04 | 2013-10-05
Chlorine | 01/10/13 - 01/11/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-11-05 | 2013-11-05
Chlorine | 01/11/13 - 01/12/13 | mg/m3 | 200 | 0 | 0 | Yes | 2013-12-03 | 2013-12-04
Chlorine | 01/12/13 - 01/01/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-01-06 | 2014-01-07
Chlorine | 01/01/14 - 01/02/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-02-04 | 2014-02-07
Chlorine | 01/02/14 - 01/03/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-03-04 | 2014-03-06
Chlorine | 01/03/14 - 01/04/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-04-02 | 2014-04-04
Chlorine | 01/04/14 - 01/05/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-05-02 | 2014-05-05
Chlorine | 01/05/14 - 01/06/14 | mg/m3 | 200 | 0 | 9.9 | Yes | 2014-06-05 | 2014-06-10
Chlorine | 01/06/14 - 01/07/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-07-01 | 2014-07-02
Chlorine | 01/07/14 - 01/08/14 | mg/m3 | 200 | 0 | 4.9 | Yes | 2014-08-01 | 2014-08-04
Chlorine | 01/08/14 - 01/09/14 | mg/m3 | 200 | 0 | 3 | Yes | 2014-09-01 | 2014-09-03
Chlorine | 01/09/14 - 01/10/14 | mg/m3 | 200 | 0 | 10.5 | Yes | 2014-10-01 | 2014-10-03
Chlorine | 01/10/14 - 01/11/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-11-03 | 2014-11-06
Chlorine | 01/11/14 - 01/12/14 | mg/m3 | 200 | 0 | 0 | Yes | 2014-12-02 | 2014-12-04
Chlorine | 01/12/14 - 01/01/15 | mg/m3 | 200 | 0 | 0 | Yes | 2015-01-07 | 2015-01-12
Chlorine | 01/01/15 - 01/02/15 | mg/m3 | 200 | 0 | 0 | Yes | 2015-02-09 | 2015-02-09
Chlorine | 01/02/15 - 01/03/15 | mg/m3 | 200 | 0 | 0 | Yes | 2015-03-03 | 2015-03-04
Sampling Frequency: Quarterly
EPA Point: | Point 4 - Stack Gas | Absorption Tail Tower
Pollutant | Monitoring Date | Units | Licence Limit | Result | Requirement Met | Results Obtained | Results Published | Note
Hydrogen Chloride | 2012-05-08 | mg/m3 | 30 | <0.3 | Yes | 2012-05-17 | 2012-05-17
Hydrogen Chloride | 2012-08-24 | mg/m3 | 30 | <0.3 | Yes | 2012-08-27 | 2012-09-06
Hydrogen Chloride | 2012-11-01 | mg/m3 | 30 | <0.3 | Yes | 2012-11-05 | 2012-11-05
Hydrogen Chloride | 2013-02-22 | mg/m3 | 30 | <0.3 | Yes | 2013-03-04 | 2013-03-05
Hydrogen Chloride | 2013-04-24 | mg/m3 | 30 | <0.3 | Yes | 2013-05-16 | 2013-05-17
Hydrogen Chloride | 2013-08-09 | mg/m3 | 30 | <0.3 | Yes | 2013-09-04 | 2013-09-05
Hydrogen Chloride | 2013-10-31 | mg/m3 | 30 | <0.3 | Yes | 2013-12-03 | 2013-12-04
Hydrogen Chloride | 2014-01-31 | mg/m3 | 30 | <0.3 | Yes | 2014-02-04 | 2014-02-07
Hydrogen Chloride | 2014-05-13 | mg/m3 | 30 | <0.3 | Yes | 2014-06-03 | 2014-06-03
Hydrogen Chloride | 2014-06-23 | mg/m3 | 30 | <0.3 | Yes | 2014-07-01 | 2014-07-02
Hydrogen Chloride | 2014-09-08 | mg/m3 | 30 | <0.3 | Yes | 2014-11-05 | 2014-11-06
Hydrogen Chloride | 2014-10-27 | mg/m3 | 30 | <0.3 | Yes | 2014-11-05 | 2014-11-06
Hydrogen Chloride | 2015-02-06 | mg/m3 | 30 | <0.3 | Yes | 2015-02-09 | 2015-02-09
Sampling Frequency: Continuous
EPA Point: | Point 7 - Stack Gas | Emergency Chlorine Vent
Pollutant | Monitoring Period | Units | Licence Limit* | Minimum Value | Mean Value | Requirement Met | Maximum Value | Results Obtained | Results Published
Chlorine | 01/04/12 - 01/05/12 | mg/m3 | 200 | 0 | 0.001 | Yes | 2.4 | 2012-05-01 | 2012-05-01
Chlorine | 01/05/12 - 01/06/12 | mg/m3 | 200 | 0 | 0.002 | Yes | 2.1 | 2012-06-01 | 2012-06-01
Chlorine | 01/06/12 - 01/07/12 | mg/m3 | 200 | 0 | 0.0007 | Yes | 2.7 | 2012-07-09 | 2012-07-09
Chlorine | 01/07/12 - 01/08/12 | mg/m3 | 200 | 0 | 0.0007 | Yes | 2.67 | 2012-08-06 | 2012-08-06
Chlorine | 01/08/12 - 01/09/12 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 1.65 | 2012-09-06 | 2012-09-06
Chlorine | 01/09/12 - 01/10/12 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 2.7 | 2012-10-04 | 2012-10-04
Chlorine | 01/10/12 - 01/11/12 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 1.8 | 2012-11-05 | 2012-11-05
Chlorine | 01/11/12 - 01/12/12 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 5.4 | 2012-12-05 | 2012-12-05
Chlorine | 01/12/12 - 01/01/13 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 1.5 | 2013-01-07 | 2013-01-07
Chlorine | 01/01/13 - 01/02/13 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 3.3 | 2013-02-04 | 2013-02-05
Chlorine | 01/02/13 - 01/03/13 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 2.37 | 2013-03-04 | 2013-03-05
Chlorine | 01/03/13 - 01/04/13 | mg/m3 | 200 | 0 | 1.365e-05 | Yes | 1.5 | 2013-04-08 | 2013-04-08
Chlorine | 01/04/13 - 01/05/13 | mg/m3 | 200 | 0 | 0 | Yes | 2.4 | 2013-05-16 | 2013-05-17
Chlorine | 01/05/13 - 01/06/13 | mg/m3 | 200 | 0 | 0 | Yes | 21.02 | 2013-06-06 | 2013-06-07
Chlorine | 01/06/13 - 01/07/13 | mg/m3 | 200 | 0 | 0 | Yes | 3.025 | 2013-07-04 | 2013-07-05
Chlorine | 01/07/13 - 01/08/13 | mg/m3 | 200 | 0 | 0 | Yes | 10.5 | 2013-08-07 | 2013-08-07
Chlorine | 01/08/13 - 01/09/13 | mg/m3 | 200 | 0 | 0 | Yes | 4.5 | 2013-09-04 | 2013-09-05
Chlorine | 01/09/13 - 01/10/13 | mg/m3 | 200 | 0 | 0 | Yes | 24.26 | 2013-10-04 | 2013-10-05
Chlorine | 01/10/13 - 01/11/13 | mg/m3 | 200 | 0 | 0 | Yes | 4.68 | 2013-11-05 | 2013-11-05
Chlorine | 01/11/13 - 01/12/13 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2013-12-03 | 2013-12-04
Chlorine | 01/12/13 - 01/01/14 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2014-01-06 | 2014-01-07
Chlorine | 01/01/14 - 01/02/14 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2014-02-04 | 2014-02-07
Chlorine | 01/02/14 - 01/03/14 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2014-03-04 | 2014-03-06
Chlorine | 01/03/14 - 01/04/14 | mg/m3 | 200 | 0 | 0 | Yes | 15.6 | 2014-04-02 | 2014-04-04
Chlorine | 01/04/14 - 01/05/14 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2014-05-02 | 2014-05-05
Chlorine | 01/05/14 - 01/06/14 | mg/m3 | 200 | 0 | 0 | Yes | 12.3 | 2014-06-05 | 2014-06-10
Chlorine | 01/06/14 - 01/07/14 | mg/m3 | 200 | 0 | 0 | Yes | 6.9 | 2014-07-01 | 2014-07-02
Chlorine | 01/07/14-01/08/14 | mg/m3 | 200 | 0 | 0 | Yes | 42.3 | 2014-08-01 | 2014-08-04
Chlorine | 01/08/14-01/09/14 | mg/m3 | 200 | 0 | 0 | Yes | 15.6 | 2014-09-01 | 2014-09-03
Chlorine | 01/09/14-01/10/14 | mg/m3 | 200 | 0 | 0 | Yes | 0 | 2014-10-01 | 2014-10-03
Chlorine | 01/10/14-01/11/14 | mg/m3 | 200 | 0 | 2.4 | Yes | 27.3 | 2014-11-03 | 2014-11-06
Chlorine | 01/11/14-01/12/14 | mg/m3 | 200 | 0 | 5.4 | Yes | 21 | 2014-12-02 | 2014-12-04
Chlorine | 01/12/14-01/01/15 | mg/m3 | 200 | 0 | 2 | Yes | 6.4 | 2015-01-07 | 2015-01-12
Chlorine | 01/01/15 - 01/02/15 | mg/m3 | 200 | 0 | 2.7 | Yes | 41.4 | 2015-02-09 | 2015-02-09
Chlorine | 01/02/15 - 01/03/15 | mg/m3 | 200 | 0 | 3.9 | Yes | 12.3 | 2015-03-03 | 2015-03-04
Correction Table
Emission Point | Test Parameter | Date Tested |  | Old Value |  | New Value |  | Reason
N/A
* Statute limit as per Schedule 4 of POEO (Clean Air) Regulation

## link
IXOM EPL LICENSE ON EPA WEBSITE
http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=20547&id=20547&option=licence&searchrange=licence&range=POEO%20licence&prp=no&status=Issued