## September
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [6 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack |  |  |  |  | LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is the large (80m) high concrete stack. | [6 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site |  |  |  |  | Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [6 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) |  |  |  |  | This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [6 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter) |  |  |  |  | Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [6 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. |  |  |  |  | as well as finite pH range.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months) | [11 empty] | Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [6 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3 |  |  |  |  | Monitoring Frequency: Total Suspended Solids - Continuous during discharge events
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average) | [11 empty] | Monitoring Frequency: pH: - Continuous during discharge events
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [6 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured |  |  |  |  | Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [6 empty] | on each 24hr day from midnight to midnight. |  |  |  |  | TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [6 empty] | The data in the below table is updated at two weekly intervals. |  |  |  |  | in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
date and results being receieved. | [11 empty] | Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
The data in the below table is updated at two weekly intervals. | [11 empty] | of 1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Licensed Discharge Point 4: Wastewater discharge adjacent to T7
Licensed Discharge Point 1 - SARP Stack | [6 empty] | Licensed Discharge Point 2: SMBS Stack |  |  |  |  | Current Month Data: | 2012-09-01 | pH |  |  | Total Suspended Solids (TSS)
Current Month Data: | 2012-09-01 | SO2 Licensed Limit Max: 2800mg/m3 |  |  | SO3 Licensed Limit Max: 50mg/m3 |  | Current Month Data: | 2012-09-01 | SO2 Licensed Limit max: 560mg/m3 |  |  | Licensed Limits |  | pH max 8.5 | pH min 6.5 |  | TSS max: Dry weather 40mg/L Wet weather: 150mg/L |  |  |  | Wet Weather >10mm/24hrs
Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | SO3 Result Required once per quarter (mg/m3) | Sampling Information | Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | Day | Date | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS min (mg/L) | TSS Average (mg/L) | Total Volume discharged per day (kL) | Rainfall per day - 24hrs (mm)
Saturday | 2012-09-01 | 0 | 0 | 0 | 0 |  | Saturday | 2012-09-01 | 0.644 | 0 | 0.133 | Saturday | 2012-09-01 | 8.18 | 8.17 | 8.175 | 4 | 0 | 2 | 9.197 | 0
Sunday | 2012-09-02 | 0 | 0 | 0 | 0 |  | Sunday | 2012-09-02 | 1.876 | 0 | 0.4445 | Sunday | 2012-09-02 | 8.19 | 8 | 8.1233 | 0 | 0 | 0 | 11.188 | 0
Monday | 2012-09-03 | 0 | 0 | 0 | 0 |  | Monday | 2012-09-03 | 4.564 | 0 | 0.42 | Monday | 2012-09-03 | 7.96 | 7.94 | 7.95 | 0 | 0 | 0 | 7.59 | 0
Tuesday | 2012-09-04 | 0 | 0 | 0 | 0 |  | Tuesday | 2012-09-04 | 0.84 | 0 | 0.13417 | Tuesday | 2012-09-04 | 8.14 | 8.1 | 8.12 | 0 | 0 | 0 | 8.816 | 0
Wednesday | 2012-09-05 | 0 | 0 | 0 | 0 |  | Wednesday | 2012-09-05 | 414.568 | 0 | 21.952 | Wednesday | 2012-09-05 | 8.14 | 8.13 | 8.135 | 0 | 0 | 0 | 6.689 | 0
Thursday | 2012-09-06 | 0 | 0 | 0 | 0 |  | Thursday | 2012-09-06 | 4.34 | 1.764 | 2.8233 | Thursday | 2012-09-06 | 8.21 | 8.1 | 8.1533 | 0 | 0 | 0 | 14.845 | 0
Friday | 2012-09-07 | 0 | 0 | 0 | 0 |  | Friday | 2012-09-07 | 3.36 | 1.848 | 2.3322 | Friday | 2012-09-07 | 8.24 | 8.14 | 8.192 | 0 | 0 | 0 | 24.275 | 0
Saturday | 2012-09-08 | 0 | 0 | 0 | 0 |  | Saturday | 2012-09-08 | 13.608 | 0.56 | 7.462 | Saturday | 2012-09-08 | 8.24 | 7.74 | 8.0013 | 1 | 0 | 0.5 | 38.545 | 0
Sunday | 2012-09-09 | 42 | 0 | 8.3778 | 0 |  | Sunday | 2012-09-09 | 1.008 | 0.224 | 0.64633 | Sunday | 2012-09-09 | 8.23 | 8.11 | 8.167 | 0 | 0 | 0 | 47.118 | 0
Monday | 2012-09-10 | 35.7 | 0 | 5.3923 | 0 |  | Monday | 2012-09-10 | 8.064 | 0.084 | 4.7647 | Monday | 2012-09-10 | 8.24 | 8.12 | 8.1837 | 0 | 0 | 0 | 38.633 | 0
Tuesday | 2012-09-11 | 0 | 0 | 0 | 0 |  | Tuesday | 2012-09-11 | 7.952 | 0 | 1.7197 | Tuesday | 2012-09-11 | 8.23 | 7.96 | 8.0817 | 0 | 0 | 0 | 27.8841 | 0
Wednesday | 2012-09-12 | 1223.264 | 0 | 154.3407 | 0 |  | Wednesday | 2012-09-12 | 9.66 | 0 | 0.868 | Wednesday | 2012-09-12 | 8.24 | 7.68 | 8.1443 | 2 | 0 | 0.28571 | 26.905 | 0
Thursday | 2012-09-13 | 1590.484 | 250.684 | 1012.669 | 0 |  | Thursday | 2012-09-13 | 1.652 | 0.364 | 1.0348 | Thursday | 2012-09-13 | 8.24 | 7.78 | 8.205 | 0 | 0 | 0 | 107.358 | 5
Friday | 2012-09-14 | 1737.232 | 921.368 | 1380.6858 | 0 |  | Friday | 2012-09-14 | 2.492 | 0.168 | 1.1888 | Friday | 2012-09-14 | 8.24 | 8.2 | 8.2245 | 0 | 0 | 0 | 52.327 | 0
Saturday | 2012-09-15 | 1762.432 | 1150.8 | 1579.3995 | 0 |  | Saturday | 2012-09-15 | 2.632 | 0.14 | 1.7862 | Saturday | 2012-09-15 | 8.24 | 8.16 | 8.2256 | 0 | 0 | 0 | 41.207 | 0
Sunday | 2012-09-16 | 1712.564 | 0.616 | 1450.8842 | 0 |  | Sunday | 2012-09-16 | 2.716 | 0.476 | 1.5703 | Sunday | 2012-09-16 | 8.25 | 8.2 | 8.232 | 0 | 0 | 0 | 21.797 | 0
Monday | 2012-09-17 | 1705.452 | 1600.2 | 1668.702 | 0 |  | Monday | 2012-09-17 | 1.96 | 0.952 | 1.5225 | Monday | 2012-09-17 | 8.25 | 8.2 | 8.2322 | 0 | 0 | 0 | 43.494 | 0
Tuesday | 2012-09-18 | 1853.768 | 1533.784 | 1691.0705 | 0 |  | Tuesday | 2012-09-18 | 1.764 | 0.392 | 1.001 | Tuesday | 2012-09-18 | 8.24 | 8.11 | 8.1811 | 0 | 0 | 0 | 42.717 | 0
Wednesday | 2012-09-19 | 1828.316 | 891.464 | 1697.164 | 0 |  | Wednesday | 2012-09-19 | 1.316 | 0.644 | 0.903 | Wednesday | 2012-09-19 | 8.21 | 8.03 | 8.1278 | 0 | 0 | 0 | 43.357 | 0
Thursday | 2012-09-20 | 1796.032 | 1624.616 | 1698.2665 | 0 |  | Thursday | 2012-09-20 | 3.192 | 0 | 1.0873 | Thursday | 2012-09-20 | 8.22 | 7.97 | 8.0783 | 0 | 0 | 0 | 29.16 | 0
Friday | 2012-09-21 | 1882.132 | 1768.2 | 1824.9887 | 0 |  | Friday | 2012-09-21 | 3.164 | 0.7 | 1.4747 | Friday | 2012-09-21 | 8.23 | 8 | 8.1608 | 1 | 0 | 0.25 | 58.112 | 1
Saturday | 2012-09-22 | 1892.1 | 1741.684 | 1818.8963 | 0 |  | Saturday | 2012-09-22 | 1.4 | 0.308 | 0.73967 | Saturday | 2012-09-22 | 8.22 | 7.88 | 8.14 | 0 | 0 | 0 | 68.296 | 0
Sunday | 2012-09-23 | 1928.864 | 1662.948 | 1798.0597 | 0 |  | Sunday | 2012-09-23 | 1.708 | 0.252 | 0.91233 | Sunday | 2012-09-23 | 7.92 | 7.66 | 7.8209 | 0 | 0 | 0 | 53.825 | 0
Monday | 2012-09-24 | 1788.416 | 1461.852 | 1669.2142 | 0 |  | Monday | 2012-09-24 | 1.26 | 0 | 0.567 | Monday | 2012-09-24 | 7.63 | 7.32 | 7.4682 | 0 | 0 | 0 | 53.929 | 0
Tuesday | 2012-09-25 | 1823.332 | 1618.316 | 1691.3867 | 0 |  | Tuesday | 2012-09-25 | 0.56 | 0 | 0.085167 | Tuesday | 2012-09-25 | 7.5 | 7.12 | 7.2858 | 0 | 0 | 0 | 57.259 | 0
Wednesday | 2012-09-26 | 1978.452 | 1530.116 | 1702.1632 | 0 |  | Wednesday | 2012-09-26 | 0.448 | 0 | 0.071167 | Wednesday | 2012-09-26 | 7.59 | 7.15 | 7.3736 | 0 | 0 | 0 | 53.971 | 0
Thursday | 2012-09-27 | 2046.184 | 1703.884 | 1884.4793 | 0 |  | Thursday | 2012-09-27 | 1.316 | 0 | 0.36983 | Thursday | 2012-09-27 | 7.59 | 7.15 | 7.3355 | 0 | 0 | 0 | 54.067 | 0
Friday | 2012-09-28 | 2075.584 | 1719.9 | 1836.6833 | 0 |  | Friday | 2012-09-28 | 3.108 | 0.448 | 1.3452 | Friday | 2012-09-28 | 7.94 | 7.05 | 7.4108 | 0 | 0 | 0 | 61.346 | 3
Saturday | 2012-09-29 | 1833.048 | 1587.6 | 1727.3865 | 0 |  | Saturday | 2012-09-29 | 14 | 0 | 1.295 | Saturday | 2012-09-29 | 8.03 | 7.14 | 7.39 | 1 | 0 | 0.090909 | 55.021 | 2
Sunday | 2012-09-30 | 1782.368 | 1642.9 | 1703.2517 | 0 |  | Sunday | 2012-09-30 | 1.008 | 0 | 0.35 | Sunday | 2012-09-30 | 7.86 | 7.44 | 7.7188 | 0 | 0 | 0 | 39.196 | 0
Monthly Results |  | 2075.584 | 0 | 1000.1154 |  |  | Monthly Results |  | 414.568 | 0 | 2.0335 | Monthly Results |  | 8.25 | 7.05 | 7.9679 | 4 | 0 | 0.10422 | 1198.1241 | 11
Formulas:
Date = [Date]
Date = [Date, row above]+1

## August
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [6 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack |  |  |  |  | LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is the large (80m) high concrete stack. | [6 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site |  |  |  |  | Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [6 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) |  |  |  |  | This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [6 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter) |  |  |  |  | Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [6 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. |  |  |  |  | as well as finite pH range.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months) | [11 empty] | Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [6 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3 |  |  |  |  | Monitoring Frequency: Total Suspended Solids - Continuous during discharge events
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average) | [11 empty] | Monitoring Frequency: pH: - Continuous during discharge events
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [6 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured |  |  |  |  | Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [6 empty] | on each 24hr day from midnight to midnight. |  |  |  |  | TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [6 empty] | The data in the below table is updated at two weekly intervals. |  |  |  |  | in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
date and results being receieved. | [11 empty] | Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
The data in the below table is updated at two weekly intervals. | [11 empty] | of 1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Licensed Discharge Point 4: Wastewater discharge adjacent to T7
Licensed Discharge Point 1 - SARP Stack | [6 empty] | Licensed Discharge Point 2: SMBS Stack |  |  |  |  | Current Month Data: | 2012-08-01 | pH |  |  | Total Suspended Solids (TSS)
Current Month Data: | 2012-08-01 | SO2 Licensed Limit Max: 2800mg/m3 |  |  | SO3 Licensed Limit Max: 50mg/m3 |  | Current Month Data: | 2012-08-01 | SO2 Licensed Limit max: 560mg/m3 |  |  | Licensed Limits |  | pH max 8.5 | pH min 6.5 |  | TSS max: Dry weather 40mg/L Wet weather: 150mg/L |  |  |  | Wet Weather >10mm/24hrs
Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | SO3 Result Required once per quarter (mg/m3) | Sampling Information | Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | Day | Date | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS min (mg/L) | TSS Average (mg/L) | Total Volume discharged per day (kL) | Rainfall per day - 24hrs (mm)
Wednesday | 2012-08-01 | 0 | 0 | 0 |  |  | Wednesday | 2012-08-01 | 0 | 0 | 0 | Wednesday | 2012-08-01 | 8.18 | 7.97 | 8.075 | 10 | 8 | 9 | 9.668 | 0
Thursday | 2012-08-02 | 0 | 0 | 0 |  |  | Thursday | 2012-08-02 | 0 | 0 | 0 | Thursday | 2012-08-02 | [7 empty] | 0
Friday | 2012-08-03 | 0 | 0 | 0 |  |  | Friday | 2012-08-03 | 0 | 0 | 0 | Friday | 2012-08-03 | 8.18 | 8.18 | 8.18 | 1 | 1 | 1 | 2.71 | 0
Saturday | 2012-08-04 | 0 | 0 | 0 |  |  | Saturday | 2012-08-04 | 0 | 0 | 0 | Saturday | 2012-08-04 | [7 empty] | 0
Sunday | 2012-08-05 | 0 | 0 | 0 |  |  | Sunday | 2012-08-05 | 0 | 0 | 0 | Sunday | 2012-08-05 | 8.05 | 8 | 8.025 | 0 | 0 | 0 | 9.815 | 0
Monday | 2012-08-06 | 0 | 0 | 0 |  |  | Monday | 2012-08-06 | 0 | 0 | 0 | Monday | 2012-08-06 | [7 empty] | 0
Tuesday | 2012-08-07 | 0 | 0 | 0 |  |  | Tuesday | 2012-08-07 | 82.768 | 0 | 10.3495 | Tuesday | 2012-08-07 | [7 empty] | 0
Wednesday | 2012-08-08 | 0 | 0 | 0 |  |  | Wednesday | 2012-08-08 | 126.252 | 0 | 14.5647 | Wednesday | 2012-08-08 | 8.1 | 7.92 | 8.01 | 0 | 0 | 0 | 7.831 | 0
Thursday | 2012-08-09 | 0 | 0 | 0 |  |  | Thursday | 2012-08-09 | 4.06 | 0 | 0.16917 | Thursday | 2012-08-09 | 8.24 | 8.03 | 8.1167 | 5 | 0 | 2.3333 | 14.583 | 0
Friday | 2012-08-10 | 70.868 | 0 | 9.8222 |  |  | Friday | 2012-08-10 | 0.532 | 0 | 0.057167 | Friday | 2012-08-10 | 8.14 | 7.86 | 8.035 | 12 | 0 | 5.2 | 48.47 | 0
Saturday | 2012-08-11 | 1640.884 | 0 | 676.8475 |  |  | Saturday | 2012-08-11 | 1.008 | 0 | 0.48767 | Saturday | 2012-08-11 | 8.2 | 7.63 | 7.8762 | 0 | 0 | 0 | 39.092 | 0
Sunday | 2012-08-12 | 2350.152 | 0 | 1662.227 |  |  | Sunday | 2012-08-12 | 7.756 | 0 | 0.7175 | Sunday | 2012-08-12 | 8.24 | 7.7 | 8.1233 | 0 | 0 | 0 | 57.121 | 0
Monday | 2012-08-13 | 40.964 | 0 | 3.3798 |  |  | Monday | 2012-08-13 | 0.868 | 0 | 0.22633 | Monday | 2012-08-13 | 8.23 | 8.22 | 8.225 | 0 | 0 | 0 | 29.283 | 0
Tuesday | 2012-08-14 | 1179.416 | 2.884 | 450.4815 |  |  | Tuesday | 2012-08-14 | 0.392 | 0 | 0.112 | Tuesday | 2012-08-14 | 8.22 | 8.1 | 8.144 | 0 | 0 | 0 | 24.726 | 0
Wednesday | 2012-08-15 | 2296.868 | 431.032 | 1940.8293 |  |  | Wednesday | 2012-08-15 | 0.364 | 0 | 0.085167 | Wednesday | 2012-08-15 | 8.23 | 7.24 | 8.093 | 0 | 0 | 0 | 48.874 | 0
Thursday | 2012-08-16 | 2060.1 | 0.784 | 844.1475 |  |  | Thursday | 2012-08-16 | 0.924 | 0 | 0.33833 | Thursday | 2012-08-16 | 8.24 | 7.86 | 8.1329 | 0 | 0 | 0 | 34.442 | 0
Friday | 2012-08-17 | 2310.532 | 1913.1 | 2158.8688 |  |  | Friday | 2012-08-17 | 1.344 | 0.168 | 0.5915 | Friday | 2012-08-17 | 8.23 | 8.01 | 8.118 | 0 | 0 | 0 | 49.062 | 1
Saturday | 2012-08-18 | 2262.484 | 2077.432 | 2202.2945 |  |  | Saturday | 2012-08-18 | 1.064 | 0.14 | 0.57633 | Saturday | 2012-08-18 | 8.08 | 7.01 | 7.7322 | 0 | 0 | 0 | 41.897 | 0
Sunday | 2012-08-19 | 2361.464 | 2095.268 | 2209.4403 |  |  | Sunday | 2012-08-19 | 0.952 | 0 | 0.224 | Sunday | 2012-08-19 | 7.77 | 6.92 | 7.1614 | 0 | 0 | 0 | 44.939 | 0
Monday | 2012-08-20 | 693.532 | 0 | 29.1818 |  |  | Monday | 2012-08-20 | 4.2 | 0 | 0.2205 | Monday | 2012-08-20 | 7.99 | 6.83 | 7.1242 | 0 | 0 | 0 | 32.938 | 0
Tuesday | 2012-08-21 | 0 | 0 | 0 |  |  | Tuesday | 2012-08-21 | 1.064 | 0 | 0.329 | Tuesday | 2012-08-21 | 8.18 | 8.11 | 8.1433 | 0 | 0 | 0 | 14.729 | 0
Wednesday | 2012-08-22 | 0 | 0 | 0 |  |  | Wednesday | 2012-08-22 | 105.952 | 0 | 8.4082 | Wednesday | 2012-08-22 | 8.13 | 8.11 | 8.12 | 0 | 0 | 0 | 8.978 | 0
Thursday | 2012-08-23 | 0 | 0 | 0 |  |  | Thursday | 2012-08-23 | 0.476 | 0 | 0.092167 | Thursday | 2012-08-23 | 8.22 | 8 | 8.16 | 1 | 0 | 0.2 | 23.513 | 2
Friday | 2012-08-24 | 0 | 0 | 0 |  |  | Friday | 2012-08-24 | 1.4 | 0.056 | 0.54017 | Friday | 2012-08-24 | 8.24 | 7.31 | 8.046 | 11 | 0 | 4.4 | 20.812 | 2
Saturday | 2012-08-25 | 0 | 0 | 0 |  |  | Saturday | 2012-08-25 | 4.284 | 0 | 0.721 | Saturday | 2012-08-25 | 8.25 | 8.24 | 8.245 | 0 | 0 | 0 | 8.116 | 0
Sunday | 2012-08-26 | 0 | 0 | 0 |  |  | Sunday | 2012-08-26 | 0.924 | 0 | 0.31383 | Sunday | 2012-08-26 | 8.25 | 8.24 | 8.2475 | 0 | 0 | 0 | 19.372 | 0
Monday | 2012-08-27 | 0 | 0 | 0 |  |  | Monday | 2012-08-27 | 0.924 | 0.056 | 0.46433 | Monday | 2012-08-27 | 8.24 | 8.24 | 8.24 | 0 | 0 | 0 | 9.771 | 0
Tuesday | 2012-08-28 | 0 | 0 | 0 |  |  | Tuesday | 2012-08-28 | 0.56 | 0 | 0.28933 | Tuesday | 2012-08-28 | 8.25 | 8.25 | 8.25 | 0 | 0 | 0 | 9.798 | 0
Wednesday | 2012-08-29 | 0 | 0 | 0 |  |  | Wednesday | 2012-08-29 | 1.064 | 0 | 0.343 | Wednesday | 2012-08-29 | 8.24 | 8.24 | 8.24 | 0 | 0 | 0 | 8.991 | 0
Thursday | 2012-08-30 | 0 | 0 | 0 |  |  | Thursday | 2012-08-30 | 0.56 | 0 | 0.17733 | Thursday | 2012-08-30 | 8.24 | 8.23 | 8.2367 | 0 | 0 | 0 | 14.687 | 0
Friday | 2012-08-31 | 0 | 0 | 0 |  |  | Friday | 2012-08-31 | 0.952 | 0 | 0.12717 | Friday | 2012-08-31 | 8.21 | 8.21 | 8.21 | 0 | 0 | 0 | 4.89 | 0
Monthly Results |  | 2361.464 | 0 | 393.1458 |  |  | Monthly Results |  | 126.252 | 0 | 1.3073 | Monthly Results |  | 8.25 | 6.83 | 8.0485 | 12 | 0 | 0.81975 | 639.108 | 5
Formulas:
Date = [Date]
Date = [Date, row above]+1

## July
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [6 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack | [5 empty] | LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is the large (80m) high concrete stack. | [6 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site | [5 empty] | Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [6 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) | [5 empty] | This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [6 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter) | [5 empty] | Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [6 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [5 empty] | as well as finite pH range.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months) | [12 empty] | Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [6 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3 | [5 empty] | Monitoring Frequency: Total Suspended Solids - Continuous during discharge events
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average) | [12 empty] | Monitoring Frequency: pH: - Continuous during discharge events
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [6 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [5 empty] | Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [6 empty] | on each 24hr day from midnight to midnight. | [5 empty] | TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [6 empty] | The data in the below table is updated at two weekly intervals. | [5 empty] | in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
date and results being receieved. | [12 empty] | Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
The data in the below table is updated at two weekly intervals. | [12 empty] | of 1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Licensed Discharge Point 4: Wastewater discharge adjacent to T7
Licensed Discharge Point 1 - SARP Stack | [6 empty] | Licensed Discharge Point 2: SMBS Stack | [5 empty] | Current Month Data: | 2012-07-01 | pH |  |  | Total Suspended Solids (TSS)
Current Month Data: | 2012-07-01 | SO2 Licensed Limit Max: 2800mg/m3 |  |  | SO3 Licensed Limit Max: 50mg/m3 |  | Current Month Data: | 2012-07-01 | SO2 Licensed Limit max: 560mg/m3 |  |  |  | Licensed Limits |  | pH max 8.5 | pH min 6.5 |  | TSS max: Dry weather 40mg/L Wet weather: 150mg/L |  |  |  | Wet Weather >10mm/24hrs
Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | SO3 Result Required once per quarter (mg/m3) | Sampling Information | Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) |  | Day | Date | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS min (mg/L) | TSS Average (mg/L) | Total Volume discharged per day (kL) | Rainfall per day - 24hrs (mm)
Sunday | 2012-07-01 | 1774.5 | 1431.668 | 1601.3713 |  |  | Sunday | 2012-07-01 | 9.492 | 5.124 | 6.9288 |  | Sunday | 2012-07-01 | 7.97 | 7.81 | 7.8822 | 0 | 0 | 0 | 86.576 | 0
Monday | 2012-07-02 | 1753.248 | 1487.584 | 1645.6125 |  |  | Monday | 2012-07-02 | 6.468 | 5.068 | 5.7738 |  | Monday | 2012-07-02 | 7.83 | 7.78 | 7.8144 | 0 | 0 | 0 | 43.612 | 0
Tuesday | 2012-07-03 | 1768.2 | 1550.332 | 1669.2375 |  |  | Tuesday | 2012-07-03 | 7.308 | 5.152 | 6.0713 |  | Tuesday | 2012-07-03 | 7.83 | 7.56 | 7.7194 | 0 | 0 | 0 | 77.86 | 0
Wednesday | 2012-07-04 | 1775.564 | 1615.152 | 1716.2588 |  |  | Wednesday | 2012-07-04 | 7.868 | 4.844 | 6.5333 |  | Wednesday | 2012-07-04 | 7.65 | 7.52 | 7.59 | 0 | 0 | 0 | 81.027 | 0
Thursday | 2012-07-05 | 1811.768 | 1568.7 | 1695.1188 |  |  | Thursday | 2012-07-05 | 10.276 | 7.14 | 8.8142 |  | Thursday | 2012-07-05 | 7.58 | 7.27 | 7.4388 | 15 | 0 | 3.5294 | 106.131 | 17
Friday | 2012-07-06 | 1952.748 | 1642.2 | 1762.817 |  |  | Friday | 2012-07-06 | 11.032 | 5.768 | 8.4023 |  | Friday | 2012-07-06 | 7.65 | 6.94 | 7.2541 | 19 | 0 | 3.9412 | 119.815 | 7
Saturday | 2012-07-07 | 1819.916 | 1592.864 | 1729.826 |  |  | Saturday | 2012-07-07 | 9.492 | 6.692 | 7.9497 |  | Saturday | 2012-07-07 | 8.2 | 6.88 | 7.5647 | 0 | 0 | 0 | 89.118 | 0
Sunday | 2012-07-08 | 1892.352 | 1574.468 | 1781.08 |  |  | Sunday | 2012-07-08 | 9.492 | 6.664 | 7.4608 |  | Sunday | 2012-07-08 | 7.75 | 7.36 | 7.4528 | 0 | 0 | 0 | 83.603 | 0
Monday | 2012-07-09 | 1878.184 | 1725.416 | 1800.2157 |  |  | Monday | 2012-07-09 | 8.624 | 6.916 | 7.5553 |  | Monday | 2012-07-09 | 7.58 | 7.36 | 7.4718 | 0 | 0 | 0 | 81.524 | 0
Tuesday | 2012-07-10 | 1914.668 | 1826.748 | 1868.762 | 31.6 | Sample taken: 10/07/12 Result Obtained: 26/07/12 Result Published: 31/07/12 | Tuesday | 2012-07-10 | 9.016 | 7.252 | 8.1002 |  | Tuesday | 2012-07-10 | 7.7 | 7.42 | 7.598 | 1 | 0 | 0.1 | 48.744 | 5
Wednesday | 2012-07-11 | 1944.068 | 1267.364 | 1635.333 |  |  | Wednesday | 2012-07-11 | 14.252 | 1.568 | 5.7808 |  | Wednesday | 2012-07-11 | 7.94 | 7.4 | 7.7621 | 27 | 0 | 8.1429 | 63.703 | 4
Thursday | 2012-07-12 | 1941.464 | 1178.632 | 1656.1638 |  |  | Thursday | 2012-07-12 | 23.24 | 2.044 | 4.0483 |  | Thursday | 2012-07-12 | 8.25 | 7.93 | 8.208 | 5 | 0 | 1.1 | 46.812 | 1
Friday | 2012-07-13 | 1912.064 | 1324.316 | 1834.0257 |  |  | Friday | 2012-07-13 | 5.432 | 1.708 | 3.9503 |  | Friday | 2012-07-13 | 8.25 | 8.24 | 8.2464 | 1 | 0 | 0.090909 | 50.769 | 0.2
Saturday | 2012-07-14 | 2084.264 | 1798.132 | 1935.6003 |  |  | Saturday | 2012-07-14 | 2.66 | 0.084 | 1.456 |  | Saturday | 2012-07-14 | 8.24 | 8.1 | 8.19 | 17 | 1 | 6.1538 | 61.412 | 0
Sunday | 2012-07-15 | 1920.184 | 1713.6 | 1832.7318 |  |  | Sunday | 2012-07-15 | 0.868 | 0 | 0.27067 |  | Sunday | 2012-07-15 | 8.21 | 8.09 | 8.1458 | 26 | 11 | 19.75 | 53.777 | 0
Monday | 2012-07-16 | 2023.084 | 1723.848 | 1893.6528 |  |  | Monday | 2012-07-16 | 1.932 | 0 | 0.78983 |  | Monday | 2012-07-16 | 8.25 | 8.23 | 8.2417 | 26 | 22 | 23.6667 | 26.969 | 0
Tuesday | 2012-07-17 | 2017.568 | 1625.932 | 1880.5418 |  |  | Tuesday | 2012-07-17 | 1.96 | 0.532 | 1.0838 |  | Tuesday | 2012-07-17 | 8.25 | 8.23 | 8.2456 | 0 | 0 | 0 | 81.547 | 0
Wednesday | 2012-07-18 | 1885.548 | 1229.032 | 1653.6508 |  |  | Wednesday | 2012-07-18 | 1.064 | 0 | 0.39083 |  | Wednesday | 2012-07-18 | 8.25 | 8.12 | 8.1908 | 0 | 0 | 0 | 57.368 | 0
Thursday | 2012-07-19 | 1864.268 | 0 | 507.458 |  |  | Thursday | 2012-07-19 | 10.192 | 0 | 3.9678 |  | Thursday | 2012-07-19 | 8.25 | 8.2 | 8.2387 | 0 | 0 | 0 | 38.562 | 0
Friday | 2012-07-20 | 0 | 0 | 0 |  |  | Friday | 2012-07-20 | 2.352 | 0 | 0.4515 |  | Friday | 2012-07-20 | 8.26 | 8.25 | 8.2525 | 0 | 0 | 0 | 19.335 | 0
Saturday | 2012-07-21 | 0 | 0 | 0 |  |  | Saturday | 2012-07-21 | 1.708 | 0 | 0.94617 |  | Saturday | 2012-07-21 | 8.25 | 8.24 | 8.2467 | 23 | 8 | 17.3333 | 14.572 | 1
Sunday | 2012-07-22 | 0 | 0 | 0 |  |  | Sunday | 2012-07-22 | 2.716 | 1.316 | 1.9518 |  | Sunday | 2012-07-22 | 8.26 | 8.19 | 8.22 | 43 | 20 | 32.3333 | 10.412 | 2
Monday | 2012-07-23 | 0 | 0 | 0 |  |  | Monday | 2012-07-23 | 15.848 | 0.784 | 1.9763 |  | Monday | 2012-07-23 | 8.22 | 8.18 | 8.2 | 18 | 8 | 11.8 | 22.669 | 0
Tuesday | 2012-07-24 | 0 | 0 | 0 |  |  | Tuesday | 2012-07-24 | 1.708 | 0.616 | 1.141 |  | Tuesday | 2012-07-24 | 8.23 | 8.14 | 8.17 | 29 | 6 | 15.4286 | 26.422 | 0
Wednesday | 2012-07-25 | 0 | 0 | 0 |  |  | Wednesday | 2012-07-25 | 1.54 | 0.532 | 1.0383 |  | Wednesday | 2012-07-25 | 8.21 | 8.03 | 8.1467 | 6 | 1 | 3.6667 | 11.235 | 0
Thursday | 2012-07-26 | 0 | 0 | 0 |  |  | Thursday | 2012-07-26 | 1.764 | 0.448 | 1.0932 |  | Thursday | 2012-07-26 | 8.1 | 7.73 | 7.956 | 22 | 0 | 9.4 | 21.107 | 4
Friday | 2012-07-27 | 0 | 0 | 0 |  |  | Friday | 2012-07-27 | 1.092 | 0 | 0.12017 |  | Friday | 2012-07-27 | 8.25 | 8.01 | 8.13 | 20 | 8 | 14 | 9.419 | 0
Saturday | 2012-07-28 | 0 | 0 | 0 |  |  | Saturday | 2012-07-28 | 6.244 | 0 | 0.33367 |  | Saturday | 2012-07-28 | [7 empty] | 0
Sunday | 2012-07-29 | 0 | 0 | 0 |  |  | Sunday | 2012-07-29 | 80.052 | 0 | 6.7748 |  | Sunday | 2012-07-29 | 8.1 | 7.89 | 7.97 | 8 | 0 | 3.25 | 19.607 | 0
Monday | 2012-07-30 | 0 | 0 | 0 |  |  | Monday | 2012-07-30 | 0 | 0 | 0 |  | Monday | 2012-07-30 | 8.24 | 7.89 | 8.0233 | 7 | 3 | 5.3333 | 14.699 | 0
Tuesday | 2012-07-31 | 0 | 0 | 0 |  |  | Tuesday | 2012-07-31 | 0 | 0 | 0 |  | Tuesday | 2012-07-31 | 7.98 | 7.98 | 7.98 | 4 | 4 | 4 | 4.89 | 0
Monthly Results |  | 2084.264 | 0 | 1035.4664 |  |  | Monthly Results |  | 80.052 | 0 | 3.5857 |  | Monthly Results |  | 8.26 | 6.88 | 7.9517 | 43 | 0 | 6.1007 | 1473.296 | 41.2
Comments on Non-complying results:
[12 empty] | 2012-07-22 | One discharge event on this day at 0016hrs. Discharge valve open for ~10 seconds and resleased 229 litres of wastewater at an average TSS concentration
of 43mg/L. This was in exess of the dry weather licensed maximum concentration of 40mg/L.
Formulas:
Date = [Date]
Date = [Date, row above]+1
Note on W56: No Wastewater discharge in this 24hr period

## June
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [6 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack |  |  |  |  | LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is the large (80m) high concrete stack. | [6 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site |  |  |  |  | Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [6 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) |  |  |  |  | This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [6 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter) |  |  |  |  | Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [6 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. |  |  |  |  | as well as finite pH range.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months) | [11 empty] | Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [6 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3 |  |  |  |  | Monitoring Frequency: Total Suspended Solids - Continuous during discharge events
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average) | [11 empty] | Monitoring Frequency: pH: - Continuous during discharge events
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [6 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured |  |  |  |  | Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [6 empty] | on each 24hr day from midnight to midnight. |  |  |  |  | TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [6 empty] | The data in the below table is updated at two weekly intervals. |  |  |  |  | in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
date and results being receieved. | [11 empty] | Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
The data in the below table is updated at two weekly intervals. | [11 empty] | of 1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Licensed Discharge Point 4: Wastewater discharge adjacent to T7
Licensed Discharge Point 1 - SARP Stack | [6 empty] | Licensed Discharge Point 2: SMBS Stack |  |  |  |  | Current Month Data: | 2012-06-01 | pH |  |  | Total Suspended Solids (TSS)
Current Month Data: | 2012-06-01 | SO2 Licensed Limit Max: 2800mg/m3 |  |  | SO3 Licensed Limit Max: 50mg/m3 |  | Current Month Data: | 2012-06-01 | SO2 Licensed Limit max: 560mg/m3 |  |  | Licensed Limits |  | pH max 8.5 | pH min 6.5 |  | TSS max: Dry weather 40mg/L Wet weather: 150mg/L |  |  |  | Wet Weather >10mm/24hrs
Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | SO3 Result Required once per quarter (mg/m3) | Sampling Information | Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | Day | Date | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS min (mg/L) | TSS Average (mg/L) | Total Volume discharged per day (kL) | Rainfall per day - 24hrs (mm)
Friday | 2012-06-01 | 1734.348 | 1171.016 | 1488.6317 |  |  | Friday | 2012-06-01 | 10.164 | 0 | 5.4145 | Friday | 2012-06-01 | 8.18 | 7.55 | 7.8955 | 0 | 0 | 0 | 52.805 | 0
Saturday | 2012-06-02 | 2098.432 | 1513.316 | 1834.8318 |  |  | Saturday | 2012-06-02 | 8.484 | 0 | 5.7645 | Saturday | 2012-06-02 | 8.05 | 7.4 | 7.8744 | 0 | 0 | 0 | 97.473 | 5.7
Sunday | 2012-06-03 | 1724.352 | 0 | 666.4455 |  |  | Sunday | 2012-06-03 | 13.776 | 0 | 5.6863 | Sunday | 2012-06-03 | 7.7 | 7.03 | 7.462 | 0 | 0 | 0 | 55.602 | 0.6
Monday | 2012-06-04 | 1477.364 | 312.648 | 559.629 |  |  | Monday | 2012-06-04 | 152.852 | 0 | 9.8467 | Monday | 2012-06-04 | 8.23 | 7.13 | 7.8891 | 0 | 0 | 0 | 54.187 | 0
Tuesday | 2012-06-05 | 429.464 | 321.3 | 377.7503 |  |  | Tuesday | 2012-06-05 | 8.652 | 0 | 4.4018 | Tuesday | 2012-06-05 | 8.26 | 6.9 | 7.58 | 16.24 | 0 | 2.04 | 63.856 | 15.9
Wednesday | 2012-06-06 | 4.732 | 0 | 0.78867 |  |  | Wednesday | 2012-06-06 | 8.344 | 0 | 4.9595 | Wednesday | 2012-06-06 | 8.22 | 8.15 | 8.179 | 22 | 4 | 13.7143 | 31.276 | 2.4
Thursday | 2012-06-07 | 1.568 | 0 | 0.78633 |  |  | Thursday | 2012-06-07 | 4.2 | 0 | 2.6472 | Thursday | 2012-06-07 | 8.19 | 8.15 | 8.1675 | 18 | 5 | 11.25 | 19.456 | 0
Friday | 2012-06-08 | 3.948 | 0.532 | 1.6322 |  |  | Friday | 2012-06-08 | 8.484 | 0 | 2.1257 | Friday | 2012-06-08 | 8.25 | 8.22 | 8.242 | 11 | 2 | 5 | 23.33 | 0
Saturday | 2012-06-09 | 1682.632 | 3.668 | 735.7233 |  |  | Saturday | 2012-06-09 | 3.556 | 0 | 2.2027 | Saturday | 2012-06-09 | 7.57 | 7.01 | 7.2337 | 0 | 0 | 0 | 36.837 | 0
Sunday | 2012-06-10 | 1658.468 | 1268.4 | 1516.1603 |  |  | Sunday | 2012-06-10 | 23.94 | 0 | 4.4403 | Sunday | 2012-06-10 | 8.31 | 6.77 | 7.2 | 2 | 1 | 1.5 | 39.047 | 3.6
Monday | 2012-06-11 | 1630.132 | 1420.384 | 1517.7983 |  |  | Monday | 2012-06-11 | 6.748 | 0 | 4.4718 | Monday | 2012-06-11 | 7.72 | 6.79 | 7.1861 | 11 | 1 | 6.4 | 117.063 | 8.4
Tuesday | 2012-06-12 | 1848.252 | 1327.984 | 1582.1003 |  |  | Tuesday | 2012-06-12 | 7.84 | 0 | 5.11 | Tuesday | 2012-06-12 | 7.84 | 6.52 | 7.1915 | 18 | 9 | 14.1667 | 34.194 | 2.7
Wednesday | 2012-06-13 | 1679.468 | 1488.9 | 1564.3075 |  |  | Wednesday | 2012-06-13 | 8.064 | 0 | 5.5533 | Wednesday | 2012-06-13 | 7.36 | 6.97 | 7.1582 | 2 | 2 | 2 | 86.548 | 3.3
Thursday | 2012-06-14 | 1824.648 | 1456.868 | 1617.5705 |  |  | Thursday | 2012-06-14 | 7.14 | 0 | 5.0097 | Thursday | 2012-06-14 | 7.96 | 7.14 | 7.527 | 0 | 0 | 0 | 86.0674 | 0.9
Friday | 2012-06-15 | 1790.516 | 1356.068 | 1601.8742 |  |  | Friday | 2012-06-15 | 8.092 | 0 | 5.1963 | Friday | 2012-06-15 | 7.7 | 7.36 | 7.555 | 0 | 0 | 0 | 66.052 | 0
Saturday | 2012-06-16 | 1764.532 | 1571.584 | 1666.1003 |  |  | Saturday | 2012-06-16 | 7 | 0 | 4.9362 | Saturday | 2012-06-16 | 8.06 | 7.2 | 7.7685 | 12 | 2 | 5.6 | 65.064 | 2.4
Sunday | 2012-06-17 | 1700.216 | 1347.668 | 1599.6167 |  |  | Sunday | 2012-06-17 | 4.816 | 0 | 3.3145 | Sunday | 2012-06-17 | 7.95 | 7.8 | 7.8744 | 0 | 0 | 0 | 43.805 | 0
Monday | 2012-06-18 | 1722.532 | 1494.164 | 1638.8645 |  |  | Monday | 2012-06-18 | 5.264 | 0 | 3.3332 | Monday | 2012-06-18 | 7.99 | 7.78 | 7.88 | 0 | 0 | 0 | 33.986 | 0
Tuesday | 2012-06-19 | 1765.848 | 1537.984 | 1654.618 |  |  | Tuesday | 2012-06-19 | 5.376 | 0 | 3.7275 | Tuesday | 2012-06-19 | 8.02 | 7.74 | 7.8722 | 0 | 0 | 0 | 43.654 | 0
Wednesday | 2012-06-20 | 1859.564 | 1443.232 | 1693.2767 |  |  | Wednesday | 2012-06-20 | 5.544 | 0 | 3.57 | Wednesday | 2012-06-20 | 8.13 | 7.1 | 7.8422 | 0 | 0 | 0 | 41.714 | 0
Thursday | 2012-06-21 | 444.416 | 0.784 | 22.1667 |  |  | Thursday | 2012-06-21 | 5.348 | 0 | 3.5105 | Thursday | 2012-06-21 | 7.96 | 7.05 | 7.5163 | 0 | 0 | 0 | 38.88 | 0
Friday | 2012-06-22 | 1315.384 | 1.316 | 510.0398 |  |  | Friday | 2012-06-22 | 9.632 | 0 | 3.6097 | Friday | 2012-06-22 | 7.88 | 7.5 | 7.7214 | 27 | 0 | 7.4286 | 34.42 | 5.7
Saturday | 2012-06-23 | 1321.152 | 0.532 | 483.7747 |  |  | Saturday | 2012-06-23 | 4.424 | 0 | 2.8747 | Saturday | 2012-06-23 | 8.21 | 6.76 | 7.6178 | 35 | 0 | 6.6667 | 44.32 | 0
Sunday | 2012-06-24 | 1652.952 | 0 | 930.7363 |  |  | Sunday | 2012-06-24 | 5.348 | 0 | 3.5035 | Sunday | 2012-06-24 | 8.24 | 7.18 | 7.9225 | 0 | 0 | 0 | 60.752 | 0
Monday | 2012-06-25 | 1773.716 | 1601.516 | 1673.2205 |  |  | Monday | 2012-06-25 | 5.544 | 4.06 | 4.5827 | Monday | 2012-06-25 | 8.24 | 8.16 | 8.2029 | 0 | 0 | 0 | 66.616 | 0
Tuesday | 2012-06-26 | 1817.564 | 1618.848 | 1698.2782 |  |  | Tuesday | 2012-06-26 | 6.692 | 4.956 | 6.0118 | Tuesday | 2012-06-26 | 8.22 | 7.85 | 8.106 | 1 | 0 | 0.066667 | 72.485 | 1.2
Wednesday | 2012-06-27 | 1741.432 | 1631.168 | 1694.4503 |  |  | Wednesday | 2012-06-27 | 8.232 | 6.132 | 6.748 | Wednesday | 2012-06-27 | 8.15 | 7.08 | 7.6095 | 24 | 0 | 2.3684 | 104.373 | 0.3
Thursday | 2012-06-28 | 1905.232 | 1514.884 | 1704.0742 |  |  | Thursday | 2012-06-28 | 9.576 | 5.068 | 6.8297 | Thursday | 2012-06-28 | 8.24 | 8.14 | 8.183 | 2 | 0 | 0.45 | 95.224 | 0
Friday | 2012-06-29 | 1957.2 | 1241.884 | 1640.9225 |  |  | Friday | 2012-06-29 | 9.716 | 6.86 | 7.994 | Friday | 2012-06-29 | 8.24 | 7.95 | 8.1596 | 0 | 0 | 0 | 116.377 | 0
Saturday | 2012-06-30 | 1787.884 | 1430.884 | 1555.0512 |  |  | Saturday | 2012-06-30 | 8.148 | 5.46 | 6.3513 | Saturday | 2012-06-30 | 8.24 | 7.96 | 8.1337 | 0 | 0 | 0 | 92.789 | 0
Monthly Results |  | 2098.432 | 0 | 1174.374 | 31.6 |  | Monthly Results |  | 152.852 | 0 | 4.7909 | Monthly Results |  | 8.31 | 6.52 | 7.7584 | 35 | 0 | 2.6217 | 1818.2524 | 53.1
Formulas:
Date = [Date]
Date = [Date, row above]+1

## May
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [6 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack |  |  |  |  | LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is the large (80m) high concrete stack. | [6 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site |  |  |  |  | Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [6 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) |  |  |  |  | This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [6 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter) |  |  |  |  | Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [6 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. |  |  |  |  | as well as finite pH range.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months) | [11 empty] | Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [6 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3 |  |  |  |  | Monitoring Frequency: Total Suspended Solids - Continuous during discharge events
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average) | [11 empty] | Monitoring Frequency: pH: - Continuous during discharge events
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [6 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured |  |  |  |  | Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [6 empty] | on each 24hr day from midnight to midnight. |  |  |  |  | TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [6 empty] | The data in the below table is updated at two weekly intervals. |  |  |  |  | in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
date and results being receieved. | [11 empty] | Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
The data in the below table is updated at two weekly intervals. | [11 empty] | of 1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Licensed Discharge Point 4: Wastewater discharge adjacent to T7
Licensed Discharge Point 1 - SARP Stack | [6 empty] | Licensed Discharge Point 2: SMBS Stack |  |  |  |  | Current Month Data: | 2012-05-01 | pH |  |  | Total Suspended Solids (TSS)
Current Month Data: | 2012-05-01 | SO2 Licensed Limit Max: 2800mg/m3 |  |  | SO3 Licensed Limit Max: 50mg/m3 |  | Current Month Data: | 2012-05-01 | SO2 Licensed Limit max: 560mg/m3 |  |  | Licensed Limits |  | pH max 8.5 | pH min 6.5 |  | TSS max: Dry weather 40mg/L Wet weather: 150mg/L |  |  |  | Wet Weather >10mm/24hrs
Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | SO3 Result Required once per quarter (mg/m3) | Sampling Information | Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | Day | Date | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS min (mg/L) | TSS Average (mg/L) | Total Volume discharged per day (kL) | Rainfall per day - 24hrs (mm)
Tuesday | 2012-05-01 | 1996.064 | 1504.664 | 1790.1392 |  |  | Tuesday | 2012-05-01 | 0.532 | 0 | 0.051333 | Tuesday | 2012-05-01 | 8.15 | 6.92 | 7.5114 | 0 | 0 | 0 | 94.942 | 0.3
Wednesday | 2012-05-02 | 1966.132 | 1708.364 | 1824.9175 |  |  | Wednesday | 2012-05-02 | 3.808 | 0 | 0.336 | Wednesday | 2012-05-02 | 8.18 | 7.77 | 8.0642 | 0 | 0 | 0 | 80.967 | 0.6
Thursday | 2012-05-03 | 2019.668 | 1617 | 1826.1483 |  |  | Thursday | 2012-05-03 | 0.616 | 0 | 0.092167 | Thursday | 2012-05-03 | 8.16 | 7.64 | 7.9645 | 0 | 0 | 0 | 52.4 | 0.09
Friday | 2012-05-04 | 1912.316 | 1660.568 | 1764.4725 |  |  | Friday | 2012-05-04 | 0.784 | 0 | 0.075833 | Friday | 2012-05-04 | 8.2 | 7.6 | 7.959 | 0 | 0 | 0 | 48.469 | 0
Saturday | 2012-05-05 | 1816.752 | 1743.252 | 1785.5565 |  |  | Saturday | 2012-05-05 | 0.476 | 0 | 0.053667 | Saturday | 2012-05-05 | 7.8 | 7.36 | 7.5873 | 0 | 0 | 0 | 52.296 | 0
Sunday | 2012-05-06 | 1852.2 | 1712.564 | 1789.375 |  |  | Sunday | 2012-05-06 | 0.056 | 0 | 0.0046667 | Sunday | 2012-05-06 | 7.79 | 7.57 | 7.6309 | 0 | 0 | 0 | 54.1 | 0
Monday | 2012-05-07 | 1893.948 | 1770.048 | 1811.481 |  |  | Monday | 2012-05-07 | 1.344 | 0 | 0.11783 | Monday | 2012-05-07 | 7.59 | 7.24 | 7.39 | 0 | 0 | 0 | 44.238 | 0
Tuesday | 2012-05-08 | 1878.184 | 1651.664 | 1767.9702 |  |  | Tuesday | 2012-05-08 | 1.26 | 0 | 0.1855 | Tuesday | 2012-05-08 | 7.45 | 7.17 | 7.322 | 0 | 0 | 0 | 50.209 | 0
Wednesday | 2012-05-09 | 1912.568 | 1621.2 | 1743.8598 |  |  | Wednesday | 2012-05-09 | 2.408 | 0 | 0.36867 | Wednesday | 2012-05-09 | 7.28 | 6.93 | 7.13 | 0 | 0 | 0 | 47.156 | 0
Thursday | 2012-05-10 | 1808.884 | 1240.848 | 1594.9173 |  |  | Thursday | 2012-05-10 | 2.24 | 0 | 0.19133 | Thursday | 2012-05-10 | 7.81 | 6.92 | 7.1029 | 0 | 0 | 0 | 54.955 | 0
Friday | 2012-05-11 | 1727.768 | 1610.7 | 1681.5435 |  |  | Friday | 2012-05-11 | 7.924 | 0 | 2.954 | Friday | 2012-05-11 | 8.23 | 7.68 | 8.0967 | 0 | 0 | 0 | 51.291 | 0
Saturday | 2012-05-12 | 1706.516 | 1598.1 | 1630.3373 |  |  | Saturday | 2012-05-12 | 3.668 | 0 | 1.7453 | Saturday | 2012-05-12 | 8.21 | 7.67 | 7.9645 | 0 | 0 | 0 | 51.398 | 0
Sunday | 2012-05-13 | 1654.268 | 1606.5 | 1632.204 |  |  | Sunday | 2012-05-13 | 3.864 | 0 | 1.8422 | Sunday | 2012-05-13 | 8.07 | 6.9 | 7.3567 | 0 | 0 | 0 | 26.625 | 0.6
Monday | 2012-05-14 | 1649.564 | 1523.284 | 1596.0478 |  |  | Monday | 2012-05-14 | 4.9 | 0 | 1.68 | Monday | 2012-05-14 | 8.21 | 6.88 | 7.2381 | 0 | 0 | 0 | 70.239 | 0
Tuesday | 2012-05-15 | 1647.464 | 1525.916 | 1591.6927 |  |  | Tuesday | 2012-05-15 | 6.384 | 0 | 2.8723 | Tuesday | 2012-05-15 | 8.06 | 7.34 | 7.6022 | 0 | 0 | 0 | 43.992 | 0
Wednesday | 2012-05-16 | 1733.032 | 1479.184 | 1629.3165 |  |  | Wednesday | 2012-05-16 | 5.824 | 0 | 3.43 | Wednesday | 2012-05-16 | 8.41 | 6.91 | 7.3508 | 0 | 0 | 0 | 52.453 | 0
Thursday | 2012-05-17 | 1719.9 | 1301.468 | 1626.037 |  |  | Thursday | 2012-05-17 | 7.14 | 0 | 3.997 | Thursday | 2012-05-17 | 7.87 | 7.34 | 7.5643 | 0 | 0 | 0 | 34.25 | 0
Friday | 2012-05-18 | 1808.1 | 1251.852 | 1629.2838 |  |  | Friday | 2012-05-18 | 7.756 | 0 | 4.1323 | Friday | 2012-05-18 | 7.78 | 7.54 | 7.6579 | 0 | 0 | 0 | 67.714 | 0
Saturday | 2012-05-19 | 1996.064 | 1377.6 | 1644.9708 |  |  | Saturday | 2012-05-19 | 5.432 | 0 | 1.9647 | Saturday | 2012-05-19 | 7.71 | 7.32 | 7.5425 | 0 | 0 | 0 | 56.816 | 0
Sunday | 2012-05-20 | 1961.932 | 1668.716 | 1804.9733 |  |  | Sunday | 2012-05-20 | 6.748 | 0 | 4.0122 | Sunday | 2012-05-20 | 8.22 | 7.33 | 7.84 | 0 | 0 | 0 | 48.695 | 0
Monday | 2012-05-21 | 1840.132 | 1291.248 | 1688.9157 |  |  | Monday | 2012-05-21 | 7 | 0 | 3.9445 | Monday | 2012-05-21 | 8.28 | 8.12 | 8.23 | 2 | 2 | 2 | 50.624 | 0
Tuesday | 2012-05-22 | 1799.952 | 1298.584 | 1689.4033 |  |  | Tuesday | 2012-05-22 | 5.432 | 0 | 1.8363 | Tuesday | 2012-05-22 | 8.28 | 7.39 | 8.1771 | 3 | 2 | 2.6667 | 65.265 | 0
Wednesday | 2012-05-23 | 1762.432 | 1622.264 | 1690.9713 |  |  | Wednesday | 2012-05-23 | 6.552 | 0 | 3.2305 | Wednesday | 2012-05-23 | 8.24 | 8.04 | 8.19 | 0 | 0 | 0 | 50.671 | 0
Thursday | 2012-05-24 | 1802.332 | 1594.432 | 1716.8317 |  |  | Thursday | 2012-05-24 | 9.156 | 0 | 4.1055 | Thursday | 2012-05-24 | 8.24 | 7.16 | 7.9208 | 0 | 0 | 0 | 71.596 | 3.9
Friday | 2012-05-25 | 1800.484 | 1683.948 | 1720.012 |  |  | Friday | 2012-05-25 | 6.944 | 0 | 3.3577 | Friday | 2012-05-25 | 8.23 | 7.72 | 8.0436 | 0 | 0 | 0 | 53.907 | 1.2
Saturday | 2012-05-26 | 1723.848 | 1600.2 | 1664.8532 |  |  | Saturday | 2012-05-26 | 4.648 | 0 | 2.1572 | Saturday | 2012-05-26 | 8.18 | 7.86 | 8.02 | 0 | 0 | 0 | 51.34 | 17.1
Sunday | 2012-05-27 | 1700.748 | 1561.364 | 1624.9858 |  |  | Sunday | 2012-05-27 | 5.068 | 0 | 2.8385 | Sunday | 2012-05-27 | 8.04 | 6.89 | 7.4364 | 0 | 0 | 0 | 58.591 | 0
Monday | 2012-05-28 | 1687.084 | 1527.764 | 1569.2052 |  |  | Monday | 2012-05-28 | 4.984 | 0 | 2.996 | Monday | 2012-05-28 | 7.33 | 6.95 | 7.07 | 0 | 0 | 0 | 39.109 | 0.03
Tuesday | 2012-05-29 | 1721.748 | 1429.4 | 1661.9832 |  |  | Tuesday | 2012-05-29 | 7.056 | 0 | 4.3132 | Tuesday | 2012-05-29 | 8.12 | 7.16 | 7.5871 | 0 | 0 | 0 | 64.045 | 0
Wednesday | 2012-05-30 | 1657.432 | 1178.884 | 1508.9713 |  |  | Wednesday | 2012-05-30 | 8.176 | 0 | 3.9783 | Wednesday | 2012-05-30 | 7.9 | 7.49 | 7.7417 | 0 | 0 | 0 | 48.3 | 0
Thursday | 2012-05-31 | 1823.332 | 1246.868 | 1602.8297 |  |  | Thursday | 2012-05-31 | 10.668 | 0 | 4.7518 | Thursday | 2012-05-31 | 7.77 | 7.21 | 7.63 | 0 | 0 | 0 | 53.505 | 0
Monthly Results |  | 2019.668 | 1178.884 | 1687.2325 |  |  | Monthly Results |  | 10.668 | 0 | 2.1812 | Monthly Results |  | 8.41 | 6.88 | 7.6749 | 3 | 0 | 0.15054 | 1690.158 | 23.82
Formulas:
Date = [Date]
Date = [Date, row above]+1

## April
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [6 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack |  |  |  |  | LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is the large (80m) high concrete stack. | [6 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site |  |  |  |  | Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [6 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) |  |  |  |  | This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [6 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter) |  |  |  |  | Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [6 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. |  |  |  |  | as well as finite pH range.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months) | [11 empty] | Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [6 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3 |  |  |  |  | Monitoring Frequency: Total Suspended Solids - Continuous during discharge events
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average) | [11 empty] | Monitoring Frequency: pH: - Continuous during discharge events
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [6 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured |  |  |  |  | Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [6 empty] | on each 24hr day from midnight to midnight. |  |  |  |  | TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [6 empty] | The data in the below table is updated at two weekly intervals. |  |  |  |  | in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
date and results being receieved. | [11 empty] | Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
The data in the below table is updated at two weekly intervals. | [11 empty] | of 1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Licensed Discharge Point 4: Wastewater discharge adjacent to T7
Licensed Discharge Point 1 - SARP Stack | [6 empty] | Licensed Discharge Point 2: SMBS Stack |  |  |  |  | Current Month Data: | 2012-04-01 | pH |  |  | Total Suspended Solids (TSS)
Current Month Data: | 2012-04-01 | SO2 Licensed Limit Max: 2800mg/m3 |  |  | SO3 Licensed Limit Max: 50mg/m3 |  | Current Month Data: | 2012-04-01 | SO2 Licensed Limit max: 560mg/m3 |  |  | Licensed Limits |  | pH max 8.5 | pH min 6.5 |  | TSS max: Dry weather 40mg/L Wet weather: 150mg/L |  |  |  | Wet Weather >10mm/24hrs
Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | SO3 Result Required once per quarter (mg/m3) | Sampling Information | Day | Date | SO2 Maximum (mg/m3) | SO2 Minimum (mg/m3) | SO2 Average (mg/m3) | Day | Date | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS min (mg/L) | TSS Average (mg/L) | Total Volume discharged per day (kL) Limit 1000kL/day max | Rainfall per day - 24hrs (mm)
Sunday | 2012-04-01 | 1866.368 | 1115.352 | 1630.4878 |  |  | Sunday | 2012-04-01 | 6.356 | 0 | 2.6413 | Sunday | 2012-04-01 | 8.24 | 7.35 | 8.0247 | 0 | 0 | 0 | 69.672 | 3.6
Monday | 2012-04-02 | 1804.152 | 1228.248 | 1593.5617 |  |  | Monday | 2012-04-02 | 5.152 | 0 | 2.4162 | Monday | 2012-04-02 | 8.15 | 6.97 | 7.6308 | 0 | 0 | 0 | 63.931 | 0
Tuesday | 2012-04-03 | 1808.352 | 4.2 | 842.7813 |  |  | Tuesday | 2012-04-03 | 12.6 | 0 | 3.5968 | Tuesday | 2012-04-03 | 8.15 | 7.37 | 7.7964 | 0 | 0 | 0 | 53.107 | 0
Wednesday | 2012-04-04 | 8.932 | 3.668 | 7.0653 |  |  | Wednesday | 2012-04-04 | 4.844 | 0 | 2.2598 | Wednesday | 2012-04-04 | 8.12 | 7.92 | 8.028 | 0 | 0 | 0 | 24.33 | 0.3
Thursday | 2012-04-05 | 1456.616 | 8.652 | 504.3523 |  |  | Thursday | 2012-04-05 | 7.868 | 0 | 2.1537 | Thursday | 2012-04-05 | 8.26 | 8.04 | 8.1667 | 5 | 1 | 3 | 42.339 | 0
Friday | 2012-04-06 | 1554.532 | 892.752 | 1304.0347 |  |  | Friday | 2012-04-06 | 6.44 | 0 | 2.0417 | Friday | 2012-04-06 | 8.31 | 8.22 | 8.251 | 0 | 0 | 0 | 43.234 | 1.5
Saturday | 2012-04-07 | 1594.684 | 1240.064 | 1420.9242 |  |  | Saturday | 2012-04-07 | 5.516 | 0 | 1.022 | Saturday | 2012-04-07 | 8.31 | 8.25 | 8.2736 | 1 | 1 | 1 | 44.478 | 0.3
Sunday | 2012-04-08 | 1670.564 | 991.732 | 1435.8995 |  |  | Sunday | 2012-04-08 | 5.852 | 0 | 2.2365 | Sunday | 2012-04-08 | 8.25 | 8.24 | 8.2443 | 1 | 1 | 1 | 32.725 | 1.2
Monday | 2012-04-09 | 1583.148 | 1193.052 | 1358.3383 |  |  | Monday | 2012-04-09 | 1.932 | 0 | 0.17267 | Monday | 2012-04-09 | 8.28 | 7.47 | 8.1611 | 6 | 1 | 3 | 46.758 | 0.3
Tuesday | 2012-04-10 | 1563.184 | 34.384 | 659.2145 |  |  | Tuesday | 2012-04-10 | 1.848 | 0 | 0.10967 | Tuesday | 2012-04-10 | 8.27 | 8.24 | 8.2543 | 4 | 1 | 2 | 40.055 | 0
Wednesday | 2012-04-11 | 55.384 | 34.916 | 37.2878 |  |  | Wednesday | 2012-04-11 | 0.168 | 0 | 0.011783 | Wednesday | 2012-04-11 | 8.27 | 7.61 | 8.1614 | 40 | 2 | 18.3333 | 28.243 | 1.2
Thursday | 2012-04-12 | 1501.5 | 43.568 | 212.8 |  |  | Thursday | 2012-04-12 | 3.024 | 0 | 0.33717 | Thursday | 2012-04-12 | 8.31 | 7.65 | 8.1633 | 2 | 2 | 2 | 22.713 | 0.3
Friday | 2012-04-13 | 1398.852 | 0 | 246.8282 |  |  | Friday | 2012-04-13 | 2.184 | 0 | 0.26833 | Friday | 2012-04-13 | 8.31 | 8.14 | 8.2694 | 0 | 0 | 0 | 54.13 | 0
Saturday | 2012-04-14 | 1387.848 | 0 | 451.6983 |  |  | Saturday | 2012-04-14 | 9.408 | 0 | 1.6112 | Saturday | 2012-04-14 | 8.29 | 8.22 | 8.2473 | 0 | 0 | 0 | 54.725 | 0
Sunday | 2012-04-15 | 1494.948 | 0 | 706.4435 |  |  | Sunday | 2012-04-15 | 3.976 | 0 | 0.36167 | Sunday | 2012-04-15 | 8.31 | 8.23 | 8.2658 | 0 | 0 | 0 | 47.372 | 0.03
Monday | 2012-04-16 | 1699.152 | 1381.8 | 1550.9258 |  |  | Monday | 2012-04-16 | 2.352 | 0 | 0.17733 | Monday | 2012-04-16 | 8.31 | 7.97 | 8.2333 | 0 | 0 | 0 | 62.441 | 0.06
Tuesday | 2012-04-17 | 1820.448 | 1663.2 | 1759.1511 |  |  | Tuesday | 2012-04-17 | 7.364 | 0 | 1.8655 | Tuesday | 2012-04-17 | 8.21 | 6.86 | 7.6587 | 0 | 0 | 0 | 110.502 | 9
Wednesday | 2012-04-18 | 1888.152 | 1723.316 | 1810.9105 |  |  | Wednesday | 2012-04-18 | 6.524 | 0 | 3.1803 | Wednesday | 2012-04-18 | 7.82 | 7.01 | 7.5529 | 0 | 0 | 0 | 159.339 | 13.2
Thursday | 2012-04-19 | 2115.484 | 1724.1 | 1883.3838 |  |  | Thursday | 2012-04-19 | 5.208 | 0 | 2.1292 | Thursday | 2012-04-19 | 8.08 | 6.93 | 7.2777 | 0 | 0 | 0 | 158.463 | 11.4
Friday | 2012-04-20 | 1881.348 | 1745.352 | 1790.7202 |  |  | Friday | 2012-04-20 | 7.084 | 0 | 1.5493 | Friday | 2012-04-20 | 8.17 | 6.99 | 7.3723 | 0 | 0 | 0 | 54.408 | 11.4
Saturday | 2012-04-21 | 1919.652 | 1850.632 | 1876.5262 |  |  | Saturday | 2012-04-21 | 6.664 | 0 | 1.3428 | Saturday | 2012-04-21 | 8.07 | 7.01 | 7.3254 | 0 | 0 | 0 | 57.504 | 0
Sunday | 2012-04-22 | 1949.052 | 1810.984 | 1873.4532 |  |  | Sunday | 2012-04-22 | 3.276 | 0 | 0.59617 | Sunday | 2012-04-22 | 8.3 | 6.78 | 7.5711 | 0 | 0 | 0 | 44.169 | 0
Monday | 2012-04-23 | 1934.1 | 1319.332 | 1641.3495 |  |  | Monday | 2012-04-23 | 5.992 | 0 | 0.96833 | Monday | 2012-04-23 | 8.21 | 6.91 | 7.7241 | 0 | 0 | 0 | 66.007 | 1.8
Tuesday | 2012-04-24 | 1954.568 | 1267.084 | 1682.779 | 24 | Sample taken: 24/04/12 Result Obtained: 16/05/12 Result Published: 22/05/12 | Tuesday | 2012-04-24 | 2.408 | 0 | 0.26833 | Tuesday | 2012-04-24 | 8.26 | 8.03 | 8.2125 | 0 | 0 | 0 | 77.07 | 1.5
Wednesday | 2012-04-25 | 1956.948 | 684.068 | 1803.2887 |  |  | Wednesday | 2012-04-25 | 0.168 | 0 | 0.0175 | Wednesday | 2012-04-25 | 8.3 | 8 | 8.1757 | 0 | 0 | 0 | 58.677 | 0
Thursday | 2012-04-26 | 1867.432 | 1717.8 | 1787.5737 |  |  | Thursday | 2012-04-26 | 8.652 | 0 | 2.7277 | Thursday | 2012-04-26 | 8.28 | 7.5 | 7.9082 | 3 | 3 | 3 | 71.433 | 0
Friday | 2012-04-27 | 1957.452 | 1799.7 | 1883.3208 |  |  | Friday | 2012-04-27 | 8.344 | 0 | 3.8873 | Friday | 2012-04-27 | 7.83 | 7.03 | 7.4792 | 0 | 0 | 0 | 62.305 | 0
Saturday | 2012-04-28 | 1931.748 | 1746.948 | 1857.9038 |  |  | Saturday | 2012-04-28 | 8.092 | 0 | 4.8428 | Saturday | 2012-04-28 | 7.72 | 6.92 | 7.1938 | 0 | 0 | 0 | 79.273 | 0
Sunday | 2012-04-29 | 1967.448 | 1771.084 | 1887.7402 |  |  | Sunday | 2012-04-29 | 7.644 | 0 | 3.7613 | Sunday | 2012-04-29 | 8.26 | 6.88 | 7.4233 | 0 | 0 | 0 | 44.54 | 0.03
Monday | 2012-04-30 | 1866.116 | 1717.268 | 1796.1253 |  |  | Monday | 2012-04-30 | 5.656 | 0 | 1.5657 | Monday | 2012-04-30 | 8.2 | 6.89 | 7.4045 | 0 | 0 | 0 | 44.095 | 0
Monthly Results |  | 2115.484 | 0 | 1309.8956 | 24 |  | Monthly Results |  | 12.6 | 0 | 1.6707 | Monthly Results |  | 8.31 | 6.78 | 7.8817 | 40 | 0 | 1.1111 | 1818.038 | 57.12
Formulas:
Date = [Date]
Date = [Date, row above]+1

## Summary by Month
Environmental Monitoring Data:- EPA License Number 549
Site Name: Orica IC Assets Pty Ltd
Site Address: Gate 1, Foreshore Road, Port Kembla, NSW, 2505
The site has three Licensed Discharge Points as detailed in the monitoring data tables below: LDP1, LDP2 and LDP 4
LDP1: SARP (Spent Acid Regeneration Plant) Stack | [10 empty] | LDP2: SMBS (Sodium MetaBisulphite Plant) Stack
Description: This is the large (80m) high concrete stack. | [10 empty] | Description: This is the small white (22m) high stack adjacent to the white building on site
Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2) and Sulphur Trioxide (SO3) | [10 empty] | Pollutants Discharged: This discharge point is licensed for discharge of Sulphur Dioxide (SO2)
Units Of Measure: Both Sulphur Dioxide and Sulphur Trioxide are measured in mg/m3 (milligrams per cubic meter) | [10 empty] | Units Of Measure: Sulphur Dioxide is measured in mg/m3 (milligrams per cubic meter)
Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages. | [10 empty] | Monitoring Frequency: Sulphur Dioxide - Continuous Monitoring, licensed in 1hr block averages.
Monitoring Frequency: Sulphur Trioxide - quarterly intervals (once every three months using USEPA method 8)
Discharge limits for this point are maximum concentrations: Sulphur Dioxide 1hr average maximum is 2800 mg/m3 | [10 empty] | Discharge limit for this point is maximum concentration: Sulphur Dioxide 1hr average maximum is 560 mg/m3
Sulphur Trioxide maximum is 50 mg/m3 (minimum 1hr block average)
The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured | [10 empty] | The data in the below table shows the maximum, minimum and average concentrations of sulphur dioxide measured
on each 24hr day from midnight to midnight. For Sulphur Trioxide the data presented is the result of the actual stack test | [10 empty] | on each 24hr day from midnight to midnight.
and is reported against the actual day the test was conducted. There is a delay of several weeks between the test | [10 empty] | The data in the below table is updated at two weekly intervals.
date and results being received.
The data in the below table is updated at two weekly intervals.
LDP4: Wastewater discharge to council drain adjacent to Tank 7
Description: This is a wastewater discharge point which discharges treated wastwater only into the council drain which runs through the centre of the site
This drain discharges into the Port Kembla Outer Harbour and also carries storm water run off from the local area.
Pollutants Discharged: This discharge point is licensed for discharge of treated wastewater containing a maximum concentration of Total Suspended Solids
as well as finite pH range.
Units Of Measure: Total Suspended Solids are measured in milligrams of solids per litre of wastewater discharged and pH is measured in standard pH units
Monitoring Frequency: Total Suspended Solids - Continuos during discharge events
Monitoring Frequency: pH: - Continuous during discharge events
Discharge limits: pH - The pH is measured in a defined range and the limits are 6.5<pH<8.5. The license applies to AVERAGE pH recorded on each discharge event.
TSS: The maximum for TSS concentration is 40mg/L in dry weather and 150mg/L in wet weather (wet weather is defined as any 24hr period
in which more than 10mm of rain falls). The license applies to the AVERAGE TSS over each discharge event
Volume: - This discharge point also requires monitoring of total volume discharged each day and has a maximum allowed discharge volume
of <1000kL/day
The data in the table below shows Maximum, Minimum and average values per day for TSS and pH as well as daily volume discharged and total rainfall recorded.
This data is updated every two weeks.
Yearly Environmental Monitoring Data Summary (EPA reporting period 1 October 2011 to 30 September 2012)
LDP1: SARP Stack |  |  |  |  | LDP2: SMBS Stack |  |  |  | LDP4: Wastewater Discharge adjacent to T7
| SO2 max allowed |  | 2800mg/m3 |  |  | SO2 max allowed |  | 560mg/m3 | pH Max allowed |  | 8.5 |  | TSS Max allowed (Dry Weather) |  |  | 40mg/L
| SO3 max allowed |  | 50mg/m3 | [5 empty] | pH Min allowed |  | 6.5 |  | TSS Max Allowed (Wet Weather) |  |  | 150mg/L
[13 empty] | Max Monthly Volume discharged allowed: |  |  | 28000kL/mnth (28 day month)
Month | SO2 Max (mg/m3) | SO2 Min (mg/m3) | SO2 Average (mg/m3) | SO3 result (mg/m3) |  | SO2 Max (mg/m3) | SO2 Min (mg/m3) | SO2 Average (mg/m3) |  | pH Max | pH Min | pH Average | TSS Max (mg/L) | TSS Min (mg/L) | TSS Average (mg/L) | Total Volume Discharged per month (kL) | Rainfall per month (mm)
2012-04-01 | 2115.484 | 0 | 1309.8956 | 24 | 2012-04-01 | 12.6 | 0 | 1.6707 | 2012-04-01 | 8.31 | 6.78 | 7.8817 | 40 | 0 | 1.1111 | 1818.038 | 57.12
2012-05-01 | 2019.668 | 1178.884 | 1687.2325 |  | 2012-05-01 | 10.668 | 0 | 2.1812 | 2012-05-01 | 8.41 | 6.88 | 7.6749 | 3 | 0 | 0.15054 | 1690.158 | 23.82
2012-06-01 | 2098.432 | 0 | 1174.374 | 31.6 | 2012-06-01 | 152.852 | 0 | 4.7909 | 2012-06-01 | 8.31 | 6.52 | 7.7584 | 35 | 0 | 2.6217 | 1818.2524 | 53.1
2012-07-01 | 2084.264 | 0 | 1035.4664 |  | 2012-07-01 | 80.052 | 0 | 3.5857 | 2012-07-01 | 8.26 | 6.88 | 7.9517 | 43 | 0 | 6.1007 | 1473.296 | 41.2
2012-08-01 | 2361.464 | 0 | 393.1458 |  | 2012-08-01 | 126.252 | 0 | 1.3073 | 2012-08-01 | 8.25 | 6.83 | 8.0485 | 12 | 0 | 0.81975 | 639.108 | 5
2012-09-01 | 2075.584 | 0 | 1000.1154 |  | 2012-09-01 | 414.568 | 0 | 2.0335 | 2012-09-01 | 8.25 | 7.05 | 7.9679 | 4 | 0 | 0.10422 | 1198.1241 | 11
Full Reporting Year Results | 2361.464 | 0 | 1100.0383 | 27.8 |  | 414.568 |  | 2.5949 |  | 8.41 | 6.52 | 7.8805 | 43 | 0 | 1.818 | 8636.9765 | 191.24
Note on Q60: Total volume discharged in reporting period
Note on R60: Total Rainfall recorded during the reporting period